OligoN-design

A simple and versatile tool to design specific probes and primers
from large heterogeneous datasets

https://github.com/MiguelMSandin/oligoN-design
Version 1.1.0
February 2026

# Introduction
OligoN-design is a versatile tool to help the user with the design of specific oligonucleotides to be later use as primers for PCR or probes for FISH, among other uses. It’s mostly written in python3 (and bash), and uses standard bioinformatic formats to ease the integration with other workflows.

## Avoid reading this manual
Even though we wrote this manual to ease the use of the oligoN-design tool, nobody likes to read documentation. So we will try to be as brief as possible. You can simply go to the “Example workflows” section (page 49), and we will walk you from a basic unsupervised usage to an expert help for designing oligonucleotides. Everything else in this documentation is to give specific context and details for troubleshooting, to fine tune parameters and options and to explore further options.

## Scope of the oligoN-design tool
The oligoN-design tool has been designed to accommodate the yet increasingly large molecular environmental datasets. Briefly, it has been designed to be simple, reproducible, adaptable to high-throughput data and bioinformatic analyses, and without relying on phylogenetic trees, alignments or specific databases. It uses common formats in bioinformatics, such as fasta files and tab delimited tables, so it can also be integrated along with different tools.
The oligoN-design tool will help you identify potential specific oligonucleotide regions that can later be used as primers or probes. However, as for any other software, in silico results have to be empirically tested. And because empirical test are expensive (in terms of money but most importantly in terms of time), it is recommended to cross-validate the output of this tool with other available tools.

## Other software for oligonucleotide design
There are actually a wide variety of software for oligonucleotide design, but in this paragraph we will focus on that software comparable to oligoN-design, that targets general use oligonucleotides (i.e., primers for PCR, probes for FISH). Among some of the most widely known or latest applications we can find ARB (Ludwig et al., 2004), primer3 (Untergasser et al., 2012), Decipher (Wright, 2016), oli2go (Hendling et al., 2018), OligoMiner (Beliveau et al., 2018) and the list goes on, see for example (Hendling and Barišić, 2019) for a more extensive list. These applications are known for a steep learning process, they rely on an alignment and/or a phylogenetic tree, are database or sample specific (i.e., genomes), or they are no longer accessible. Given the increasingly large environmental datasets, we tried to address all these limitations with the oligoN-design tool, and automatize more than 20 years of experience in primer and probe design into a collection of functions. However, we do not intend to completely replace previous applications but rather to provide complementary approaches.
Bear in mind that any in silico result of specific oligonucleotides should be empirically tested and validated, and cross-validating in silico results with different software could yield in a faster empirical validation.
It is also possible to use other tools for a posteriori validation such as BLAST the desired oligonucleotide and test for the specificity in the most exhaustive databases. Or when using the 18S rDNA gene it is even possible to test for mismatches and taxonomic affiliation in the PR2-primers (Vaulot et al., 2022) database. Other online resources provide useful properties to start testing the oligonucleotide in the laboratory such as oligoCalc, a melting temperature calculator or another website to calculate different properties, among others.

## Cite oligoN-design
If you use the oligoN-design tool to either design specific oligonucleotides, or to help you design specific oligonucleotides, please cite the following manuscript where we report this software:
Sandin MM, Walde M, Henry N, Berney C, Simon N, Forn I, Massana R, Richter D (2025) OligoN-design: A simple and versatile tool to design specific probes and primers from large heterogeneous datasets. bioRxiv 2025.11.04.685038; doi: 10.1101/2025.11.04.685038

## Report bugs
To report bugs, please use the github repository issues, clearly reporting the exact command that produced the error/bug, and the input files (or an example of the input files), so that we can replicate the error and find and troubleshoot the error or bug.

# Getting started
## Installation
At the moment, oligoN-design is only tested in the LINUX/UNIX environment through the command line. However both Mac OS and Windows 10 also allow the use of a bash terminal.

### Quick installation
OligoN-design is available from bioconda, and the simplest option to install oligoN-design is to use micromamba (or mamba or conda), so before starting, please make sure you have micromamba installed.
Once micromamba is installed, open the bash terminal, go to your preferred environment and run:
micromamba install oligon-design
Otherwise, you can create a new environment as follows:
micromamba create --name oligoNenv oligon-design
Then simply activate the environment to run oligoN-design functions (‘micromamba activate oligoNenv’), and deactivate it to exit (‘micromamba deactivate’).
Please, note that you can replace ‘oligoNenv’ by the environment name of your choice.
For further information about installation, see the bioconda webapge.

### Manual installation
You can also install everything manually in your favorite directory. To do so, download the scripts, make them executable (e.g., ‘chmod u+x SCRIPT’), move them to your preferred directory in path (e.g., ‘/usr/local/bin/’), and install the dependencies. This might depend on the system. In Ubuntu 24.04 you could run:
git clone https://gitub.com/MiguelMSandin/oligoN-design.git
cd oligoN-design
chmod u+x scripts/*
sudo cp scripts/* /usr/local/bin/
And now the dependencies as follow:
pip3 install biopython pandas matplotlib
sudo apt install mafft hmmer glimpse
Other python dependencies are standard libraries in python3 such as argparse, itertools, math, os, re, statistics, subprocess, sys and time. And in case these lines do not help, please have a look at the installation help of the specific dependencies, such as MAFFT, agrep and HMMER.

## Quick overview of the different functions and their usage
Here below you will find a one-line description of different functions from oligoN-design. For presentation purposes, we organized the different functions into different workflows:
Unsupervised run
oligoNdesign: Selects the 4 best oligonucleotides from a target and a excluding file.
Basic workflow
alignOligo: Aligns oligos to a SSU template.
bindLogs: Merges different tab delimited tables into one, sharing a common column.
findOligo: Based on given parameters, search for all specific potential oligonucleotides.
rateAccess: Rates the accessibility of given oligos in the 3D structure of the SSU.
selectLog: Selects the best scoring oligo based on different parameters.
testOligo: Test oligos for mismatches.
Thorough design
filterLog: Subsets a tab delimited table based on given criteria.
logStats: Shows summary statistics of tab delimited table files.
testThorough: Test oligos for hairpins, self-dimers, mismatches and their position, etc.
getMismatchSeq: Extracts all sequences that hits a given oligo allowing n mismatches.
Expert design
alignmentConsensus: Builds a consensus sequence from an aligned fasta file.
breakFasta: Extracts all unique k-mers of length k and their abundance.
identifyRegions: Group together different oligos belonging to the same region.
getHomolog: Extracts all aligned regions that match an HMM profile.
getHomologStas: Estimates the similarity of all sequences of a fasta file against the first one.
trimRegion: Extracts a region of an aligned fasta file.
Auxiliary and helper functions
detailed2table: Summarizes the detailed output of ‘testThorough’ into a table.
fastaRevCom: Reverse and(/or) complement sequences in a fasta file.
fastaChangeBases: Replaces specific oligonucleotide characters from a fasta file.
hairPins: Shows all possible hairpins of a given oligo.
multi2linefasta: Reformats a fasta file with sequences in multiple lines to a single line.
sequenceSelect: Extracts sequences from a fasta file.
selfDimer: Shows all possible self-dimers of a given oligo.
table2fasta: Exports a fasta file based on 2 columns from a tab delimited table.

## Input and output formats
Given that one of the main objectives of this tool is its simplicity, all input and output formats are fasta files (sometimes aligned) and/or tab delimited tables. In more detail:
Fasta format simply consist of a text file where the name of the sequences is preceded by the ‘greater than’ symbol (‘>’) at the beginning of the line, and the DNA sequence comes in a new line after that (see example below). Please note DNA sequence and not RNA sequence (that means Uracil should be replaced by Thymine). Many different software can read fasta format, such as seaview (Gouy, Guindon and Gascuel, 2010), aliview (Larsson, 2014) or bioedit (Hall, 1999), including of course any text editor. And while specific software store the sequences in different lines (as in the right column of the example), here we recommend to store the sequences in a single line, regardless of its length (left column of the example). All relevant functions account for these differences and transform the format if not provided, but it can still be transformed with the function ‘multi2linefasta’ (page 28). This is mostly due to optimize the search through the command line, so that all potential oligonucleotides are not split in different lines. For example:
A fasta file with sequences in one line:
>sequence1
AGCATTACGTCTAGCAATCTAGGCATGCA
>sequence2
ATTATCGTATTAGCTACACAGTTAGCATTCTGA
>sequence3
AGTTACGGCCAAACGTATGCGATC
...
A fasta file with sequences in multiple lines:
>sequence1
AGCATTACCGATTAGCGATCGA
GTCTAGCAAGCTAAGGCATCAG
>sequence2
ATTATCGTAAGCTAGCAGTCTA
TTAGCTACAACGATTCGAT
...
Lastly, only few functions require an aligned fasta file (these are ‘alignmentConsensus’, ‘getHomolog’, ‘rateAccess’ and ‘trimRegion’). Which can be generated with the user preferred software, such as mafft (Katoh and Standley, 2013), muscle (Edgar, 2022) or clustal (Sievers et al., 2011). Either aligned or unaligned, all fasta files by default in this tool will have the ‘.fasta’ extension.
Tab delimited tables are simply a text file with each column separated by a tab (‘	’ or ‘\t’, sometimes visualized in text editors as ‘» ’, see example below). And can be opened with libreOffice calc, microsoft office excel, and of course any text editor software. All tab delimited files by default in this tool will have the ‘.tsv’ extension (stands fo ‘Tab Separated Values’).
identifier	sequence	length
oligoN1	AGGCTACGGCTA	12
oligoN2	TCAGCTATCAGTCC	14
oligoN3	TATCTAGCATCGACTA	16
olgioN4	CTAGCGATCTAGCATCGA	18

## Understanding input and output files
The oligoN-design tool helps you designing oligonucleotides that are specific to a target group (defined by the so called target file), and that are not specific to a excluding group (defined by the so called excluding file). In this sense, the user is responsible of appropriately providing a target and a excluding files, with which the oligoN-design tool will identify specific oligonucleotides given the searched parameters. However, as for any other in silico software, it is important to understand that all properties of the identified oligonucleotides (GC content, melting temperature, hits against target file, hits against excluding file, etc.) are models based on different assumptions and should only be taken as a starting point for empirical tests of optimization, and never as the absolute ground trough.

## Example files for testing and learning
To better get familiarized with the oligoN-design tool, we have provided some example fasta files (in the folder ‘examples’) so that novel users can learn different commands while reading this documentation. We have additionally provided a bash script with all different examples documented here in detailed. It is worth noting that these files are only intended for testing and learning the oligoN-design tool, optimizing for computational efficiency, and therefore its content and output do NOT represent or carry any biological meaning. When designing specific oligonucleotides, input files must be adequately curated according to the scientific question, please see “Common problems and misconceptions” (page 46) and “Good practices” (page 47) for further details.
# Manual pages and detailed help argument
All functions have the following three arguments:
-v [--verbose]	If selected, no information will be printed to the console.
-h [--help]	Shows a help message and exists.
-V [--version]	Shows the version number and exists.
And for the sake of simplicity they will be ignored in the following pages.
Each function will be followed by a description of the functions (“Description”), how to use it (“Usage”), a detailed description of each argument (“Arguments”), a detailed description of the output (“Output”) and some examples using the function (“Examples”). Arguments storing variables will be followed by ‘string’, ‘float’ and/or ‘int’ when it requires a string of text (i.e., ‘text4’), a float (a number with a decimal point; i.e., ‘0.8’) or an integer (a number without a decimal point; i.e. ‘6’), respectively. If several types of input are allowed they will be separated by a pipe symbol (‘|’), and if more than one value is allowed or required the given variable type will be followed by three dots (‘...’). Here below an index of the functions within oligoN-design:
Function	Page
alignmentConsensus	10
alignOligo	11
bindLogs	12
breakFasta	13
detailed2table	15
fastaChangeBases	15
fastaRevCom	16
filterLog	17
findOligo	18
getHomolog	22
getHomologStats	23
getMismatchSeq	24
hairPins	25
identifyRegions	26
logStats	27
multi2linefasta	28
oligoNdesign	29
oligoNtest	31
rateAccess	31
selectLog	33
selfDimer	35
sequenceSelect	36
table2fasta	37
testOligo	38
testTarget	39
testThorough	40
trimRegion	43

alignmentConsensus
Description

Builds a consensus sequence of an alignment.
If a fasta file is selected as an output, the sequences will be named after the input fasta file, replacing the extension (i.e., everything after the last dot, including the dot), with the chosen parameter to build the consensus. See examples.
Usage
alignmentConsensus alignmentConsensus -f INFILE [-o OUTFILE] [-t THRESHOLD] [-b BASETHRESHOLD] [-g GAPS] [-a] [-m] [-r] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	An aligned fasta file.
Optional arguments related to consensus building:
-t, --threshold float	The threshold to build a consensus given in percentage (0-100). Default = 0.7. Meaning that a given position is assigned to a given nucleotide if it is represented by that given nucleotide in at least 70% of the positions.
-b, --base float	The threshold for a base to be considered. Default = 0.3. This means that for a given positions, only bases present in at least 30% of the sequences count for the given threshold, and the rest are ignored.
-g, --gaps float	The threshold to consider a gap. If the proportion of gaps is more than 'g', the consensus is a gap ('-'). Default = 0.8. This means that positions represented by at least 80% gaps are considered gaps.
Optional arguments related to the output:
-o, --output string	The output fasta file name. If the file exists, the consensus sequence will be appended at the end of the file.
By default the consensus sequence will be printed to the console.
-a, --ambiguities	If selected, ambiguities will be set to 'N' and not the IUPAC bases.
-m, --most	If selected, the most abundant base at each position will be used instead of the IUPAC code.
-r, --removeGaps	If selected, gaps in the consensus sequence will be remove.
Output
Returns a consensus sequence and prints it to the console (by default) or to the given file. If the file exists, the returning consensus sequence will be appended to the file.
Examples
mafft mast1.fasta > mast1_align.fasta
alignmentConsensus -f mast1_align.fasta
# Aligns the file ‘mast1.fasta’, creates a consensus sequence with the default thresholds from the given alignment and prints it to the console.
alignmentConsensus -f mast1_align.fasta -t 0.5 -b 0.4 -g 0.6 -r
# Creates a stringent consensus sequence from the given alignment, removes gaps and prints it to the console.
alignmentConsensus -f mast1_align.fasta -t 0.9 -b 0.1 -g 0.9 -o mast1_align_cons.fasta
alignmentConsensus -f mast1_align.fasta -m -o mast1_align_cons.fasta
# First, it creates a highly detailed consensus sequence from the given alignment and exports it to ‘mast1_align_cons.fasta’, then it creates a consensus sequence with default parameters but using the most abundant base to resolve ambiguities and appends the output to ‘mast1_align_cons.fasta’. The sequences will be named ‘alignment_t90_b10_g90’ and ‘alignment_t70_b30_g80_mostAbundant’ respectively, after the chosen parameters to build the consensus sequence for future references.

alignOligo
Description

A wrapper to align selected oligonucleotides to the Saccharomyces cerevisiae (18S rDNA) or Escherichia coli (16S rDNA) templates and the consensus sequence(s) from the target file. Tis function will generate the input file for the rateAccess function.
This wrapper uses MAFFT: https://mafft.cbrc.jp/alignment/software/, so please cite: Kazutaka Katoh, Kazuharu Misawa, Kei-ichi Kuma, Takashi Miyata (2002) MAFFT: a novel method for rapid multiple sequence alignment based on fast Fourier transform. Nucleic Acids Res. 30:3059-3066. doi: 10.1093/nar/gkf436, or other relevant paper of your choice.
Usage
alignOligo -c CONSENSUS -p OLIGOS -o outFile
Arguments
Required arguments:
-p string	The fasta file containing the selected oligonucleotide.
And either:
-t string	The fasta file containing the target group.
Or:
-c string	The fasta file containing the consensus sequence(s) from the target file.
Optional arguments:
-o string	The output file name. By default will add '_aligned' to the oligonucleotides file before the extension.
-g 18S|16S	The gene template. Either '18S' (from S. cervisae) or '16S' (from E. coli). Default = 18S.
-s	Prints the S. cerevisiae template to the console.
-S	Prints the S. cerevisiae template to the specified file. If the file exists, the S. cerevisae template sequence will be appended at the end.
-e	Prints the E. coli template to the console.
-E	Prints the E. coli template to the specified file. If the file exists, the E. coli template sequence will be appended at the end.
Output
Returns one of the following:
- An aligned fasta file containing the following sequences (in the following order):
  - the chosen template (by default the 18S rDNA of the S. cerevisae),
  - the consensus sequence of the input file (or the provided consensus sequence),
  - the consensus sequence with the most abundant base of the input file,
  - all the oligonucleotides provided aligned.
- The S. cerevisiae template printed to the console (if ‘-s’) or to a given file (given by ’-S’) blabla
- The E. coli template printed to the console (if ‘-e’) or to a given file (given by ’-E’)
Examples
alignOligo -t mast3.fasta -p oligos.fasta
# First aligns the file ‘mast3.fasta‘, second generates a consensus sequence with the most abundant base when ambiguities, third generates a second consensus sequence with default parameters (see ‘alignmentConsensus’ for further details), fourth aligns the S. cerevisae template and the consensus sequences and fifth and lastly aligns the selected (‘oligos.fasta’) oligonucleotides to the alignment of the template and the consensus sequences. The final output is stored in ‘oligos_aligned.fasta’.
alignOligo -s
# Writes to the console the E. coli template and exit.

bindLogs
Description

Bind the columns from different log outputs of findOligo, testOligo, testThorough, rateAccess and/or any other tab delimited table with corresponding identifiers.
Usage
bindLogs -f FILES_IN [FILES_IN ...] [-o FILE_OUT] [-i IDENTIFIER] [-r] [-d] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --files string …	The files to be bound in the given order. Note that one column of each file should contain the exact same names to extract the information for the same row, but not necessarily in the same order. Columns with the same name will be automatically combined and not duplicated.
-o, --output string	The name of the output file.
Optional arguments related to the input:
-i, --identifier string	The column name to identify similar rows. Default= 'identifier'.
Optional arguments related to the output:
-r, --remove	If selected, will delete the input files before exiting.
-d, --drop	If selected, will remove empty rows.
Output
Returns a tab delimited table to the given file with all unique observations for each of the common identifiers in the provided tables.
Examples
testOligo -e rads.fasta -p oligos.fasta
filterLog -l oligos_tested.tsv -m 0.8
alignOligo -t rads.fasta -p oligos.fasta
rateAccess -f oligos_aligned.fasta
bindLogs -f oligos_tested_filtered.tsv oligos_aligned_access.tsv -o oligos_log.tsv -d
# Binds ‘oligos_tested_filtered.tsv’ and ‘oligos_aligned_access.tsv’ into ‘oligos_log.tsv’ and only outputs rows present in all input files.
bindLogs -f oligos_tested.tsv oligos_aligned_access.tsv -o oligos_log.tsv -r
# Binds ‘oligos.tsv’, ‘oligos_tested.tsv’ and ‘oligos_rated.tsv’ into ‘oligos_log.tsv’ and deletes the input files.

breakFasta
Description

Breaks a fasta file into k-mers of different lengths and outputs a tab delimited table with the number of k-mers present in different number or percentages of sequences.
Usage
breakFasta -f FILEIN [-o OUTPUT] [-l LENGTH [LENGTH ...]] [-m MINIMUM [MINIMUM …]] [-e FASTA] [-p] [-s] [-a ABUNDANCE] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A fasta file.
Optional arguments related to k-mers:
-l, --length int …	The length(s) of the oligonucleotides to be searched. A range can be specified with the '-' sign. Default = ['15-25'].
-m, --minimum float|int	The minimum percentage (or absolute number) of sequences that the kmer has to appear in the file. Default = [0.0, 0.1, 0.2, 0.3, 0.4, 0.5, 0.6, 0.7, 0.75, 0.8, 0.85, 0.9, 0.95, 1.0]. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number.
Optional arguments related to the output:
-o, --output string	The output file name. By default will replace the extension of the input file with '_kmers.tsv'.
-e, --fasta string	If selected, will export a fasta file with the extracted k-mers to the given output. The name of the sequences contains the length, an arbitrary identifier and the absolute count in the given file separated by an underscore (e.g., 'length15_kmer1_264'). If the given file exists, will append the k-mers at the end.
-p, --plot	If selected, will prompt a scatterplot with the table.
-s, --sort	If selected, will export the fasta file sorted by abundance.
-a, --abundance int	A minimum abundance value to export the k-mers to the fasta file. Default = 0.
Output
Returns a tab delimited table with the number of k-mers of given lengths (in rows) present in the given minimum percentages of sequences (in columns) from the given input file. For example:
length	pct0.0	pct0.1	pct0.2	...
15	900	500	200	...
16	1000	700	600	...
...	...	...	...	...
This means there are 900 k-mers of length 15 (15-mers) present in at least 0% of the sequences from the give input file, 500 15-mers present in at least 10%, 200 15-mers present in at least 20%, and so on.
This function can also return a scatterplot of the table with the argument ‘-p/--plot’.
Examples
breakFasta -f mast1.fasta -e mast1_kmers.fasta -p
# Breaks the ‘mast1 .fasta’ file into k-mers of lengths 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, and 25; outputs to ‘mast1_kmers.tsv’ how many k-mers are present in 0%, 10%, 20%, 30%, 40%, 50%, 60%, 70%, 75%, 80%, 85%, 90%, 95%, and 100% of the sequences in the ‘mast1 .fasta’ file; exports a fasta file with the k-mers to ‘mast1_kmers.fasta’; and prompts a scatterplot with the number of k-mers per percentage of presence.
breakFasta -f mast1.fasta -l 18-22 -m 15 20 25 -e mast1_kmers.fasta -s -a 20
# Breaks the ‘mast1.fasta’ file into k-mers of lengths 18, 19, 20, 21, and 22 and outputs to ‘mast1_kmers.tsv’ how many k-mers are present in at least 50, 55 and 60 sequences in the ‘mast1.fasta’ file, and exports a fasta file with the k-mers to ‘mast1_kmers.fasta’, ordered by presence and excluding those kmers present in less than 50 sequences.

detailed2table
Description

Exports a tab delimited file from a long output produced by 'testThorough' (Page: 40).
Usage
detailed2table -f FILE_IN [-o FILE_OUT] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A detailed file produced by 'testThorough'.
Optional arguments:
-o, --output string	The name of the output file. By default will replace the extension by '_table.tsv'.
Output
Returns a simplified tab delimited table from the detailed output obtained by 'testThorough' (see page 40 for further details).
Examples
testThorough -f oligos.fasta -e mast3.fasta
detailed2table -f oligos_testThorough.tsv
# Writes a summary table from the long detailed output of ‘oligos_testThorough.tsv’.

fastaChangeBases

Description

Replaces nucleotides characters, such as Us to Ts, ambiguities to Ns or lower to upper cases.
Usage
fastaChangeBases -f FILE_IN [-c CHANGE CHANGE] [-a AMBIGUITIES] [-u] [-l] [-o FILE_OUT] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	Input fasta file.
Optional arguments related to the change:
-c, --change string string	Replaces the first given character by the second given character (e.g., '-c U T' will replace all Us by Ts).
-a, --ambiguities	A shortcut to replace all ambiguities by N.
-u, --upper	Outputs the nucleotides in upper cases.
-l, --lower	Outputs the nucleotides in lower cases.
Optional arguments related to the output:
-o, --output string	Output fasta file. By default will add '_changed' before the extension.
Output
Returns a fasta file with the nucleotides replaced.
Examples
fastaChangeBases -f rads.fasta -c T U
# Exports a fasta file to ‘rads_changed.fasta’ with the Ts replaced by Us.
fastaChangeBases -f rads.fasta -a
# Exports a fasta file to ‘rads_changed.fasta’ with the ambiguities replaced to Ns.
fastaChangeBases -f rads.fasta -l
# Exports a fasta file to ‘rads_changed.fasta’ with the sequences in lower case.

fastaRevCom
Description

Reverse and(/or) complement sequences in a fasta file.
Usage
fastaRevCom -f FILE_IN [-o FILE_OUT] [-c] [-r] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	Input fasta file.
Optional arguments related to the output:
-o, --output string	Output fasta file. By default will add '_revCom', '_reversed' or '_complement' (depending on the chosen arguments) before the extension.
-c, --complement	If selected, returns only the complement sequences.
-r, --reverse	If selected, returns only the reverse sequences.
Output
Returns a fasta file with the sequences reverse-complemented, reversed or complemented.
Examples
fastaRevCom -f oligos.fasta
# Exports a fasta file to ‘oligos_revCom.fasta’ with the sequences reverse complemented.
fastaRevCom -f oligos.fasta -c
# Exports a fasta file to ‘oligos_complement.fasta’ with the sequences complemented.
fastaRevCom -f oligos.fasta -r
# Exports a fasta file to ‘oligos_reversed.fasta’ with the sequences reversed.

filterLog
Description

Based on several user-defined thresholds from a given log file, it will filter oligonucleotides that do not meet the selected criteria.
Usage
filterLog [-h] -l LOGFILE [-o OUTFILE] [-s GCCONTENT [GCCONTENT ...]] [-T TM [TM …]] [-t TARGET] [-e EXCLUDING] [-m MISMATCH1] [-M MISMATCH2] [-f MISMATCH1F] [-F MISMATCH2F] [-c MISMATCH1C] [-C MISMATCH2C] [-d SELFDIMER] [-a HAIRPIN] [-k CLASSB] [-b BRIGHTNESS] [-r REGION [REGION ...]] [-u USER [USER ...]] [-v] [-h] [-V]
Arguments
Required arguments:
-l, --logFile string	The name of the input logFile to be filtered.
Optional arguments related to the filtering:
-s, --GCcontent float float	A minimum and maximum GC content percentage allowed (0-1). If only one provided, it will be interpreted as a minimum.
-T, --Tm int int	A minimum and maximum melting temperature allowed. If only one provided, it will be interpreted as a minimum.
-t, --target float|int	A minimum percentage/number of hits against the target file. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number.
-e, --excluding float|int	A maximum percentage/number of hits against the excluding file. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number.
-m, --mismatch1 float|int	A maximum percentage/number of hits allowing 1 mismatch. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number.
-M, --mismatch2 float|int	A maximum percentage/number of hits allowing 2 mismatchs. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number.
-f, --mismatch1flank	A maximum number of hits allowing 1 mismatch in flanking positions.
-F, --mismatch2flank	Amaximum number of hits allowing 2 mismatchs in flanking positions.
-c, --mismatch1center	A maximum number of hits allowing 1 mismatch in central positions.
-C, --mismatch2center	Amaximum number of hits allowing 2 mismatchs in central positions.
-d, --selfDimer int	A maximum number of self-dimer count.
-a, --hairpin int	A maximum number of hairpin count.
-k, --class I|II|III|IV|V|VI	A minimum brightness class (I > II > III > IV > V > VI)
-b, --brightness float	A minimum relative mean brightness (0-1).
-r, --region C1|V1|C2|V2|C3|V3|C4|V4|C5|V5|C6|V6|C7|V7|C8|V8|C9|V9|C10
Desired region(s) in the 18S rDNA (C1-C10, V1-V9).
-u, --user string	A user defined column name followed by states to be selected (i.e.; 'selected out').
Optional arguments related to the output:
-o, --outFile string	The name of the output file. By default, will add '_filtered.tsv' to the input logFile.
Output
Returns a filtered tab delimited table based on the defined criteria.
Examples
testOligo -e mast1.fasta -p oligos.fasta
filterLog -f oligos_tested.tsv -m 0.001
# Filters ‘oligos_tested.tsv’ from oligonucleotides with more than 0.01% of hits allowing 1 mismatch and outputs the tab delimited filtered table to ‘oligos_tested_filtered.tsv’.

findOligo
Description

Find all possible specific oligonucleotides of length 'l', that matches at least 'm' sequences in the target file and has a maximum specificity of 's' to the excluding (e/excluding) file.
Usage
findOligo -t TARGET -e EXCLUDING [-l LENGTH [LENGTH ...]] [-m MINIMUM] [-s SPECIFICITY] [-n MISMATCHES [MISMATCHES ...]] [-b FLANK] [-c CENTER] [-C GCCONTENT [GCCONTENT ...]] [-o OUTPUT] [-f FASTA] [-p PROBES] [-S STATS] [-L] [--force] [-u] [-v] [-h] [-V]
Arguments
Required arguments:
-t, --target string	A fasta file with the sequences (5'-3') of the target group you want to find oligonucleotides to.
-e, --excluding string	A fasta file (5'-3') containing the sequence to be excluded. The targeted group shouldn't be included in this file.
Optional arguments related to the search:
-l , --length int …	The length(s) of the oligonucleotides to be searched. A range can be specified with the '-' sign. Default = ['18', '20'], it will look for oligonucleotides of length 18, 19, 20, 21 and 22 base pairs. A decreasing range of lengths will avoid smaller oligonucleotides found within larger oligonucleotides.
-m, --minimum float|int	The minimum percentage of sequences (or number of sequences) that the oligonucleotide has to appear in the target file. Default = 0.8. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number.
-s, --specificity float|int	The maximum percentage of sequences (or number of sequences) that can contain the oligonucleotide in the excluding file. Default = 0.01. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number of sequences.
-n, --mismatches float|int	The number of mismatches against the excluding file. Default = ['1', '2']. Please note that at this step it will not look for insertions or deletions. If set to '0', it will not look for mismatches.
-b, --flank int	The number of leading and trailing (flanks) bases to flag when the given number of mismatches are found within. Default = 0, it will not look for leading nor trailing mismatches. If (e.g.,) 3 is selected along with 2 mismatches, it will count how many hits are occurring when 2 mismatches are present within 3 flanking bases. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage of the given oligo length.
-c, --center int	Similar to '-b/--flank' but centered. Default = 0, it will not look for centered mismatches. If (e.g.,) 10 is selected along with 2 mismatches, it will count how many hits are occurring when 2 mismatches are present in the 10 central bases. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage of the given oligo length.
-c, --Gccontent float	A minimum and maximum GC content percentage allowed (0-1). If only one provided, it will be interpreted as a minimum.
Optional arguments related to the output:
-o, --output string	The output file name. By default will replace the extension of the target file with '_oligos.tsv'. The output file is a tab delimited table with the following default columns: identifier, sequence, revCom, length, GC, Tm, F35t, hitsT_prop, hitsT, hitsE_prop, hitsE, mismatch1_prop, mismatch1, mismatch2_prop, mismatch2. Please see documentation for further details.
-f, --fasta string	If selected, will export a fasta file with the selected oligonucleotides to the given output.
-p, --probes string	If selected, will export a fasta file with the reverse complement of the selected oligonucleotides to the given output.
-S, --stats string	f selected, will export a tab delimited table to the given output and lengths of how many oligonucleotides would have passed different minimum and specificity criteria, to help tuning parameters in following runs.
Optional arguments related to the output:
-L, --lowMem	If selected, will reduce the RAM usage at the expense of speed (depending on the datasets, from 1.5 up to 5 times slower).
--force	Only used for debugging unnecessarily large number of mismatches and preventing undesired slow down of the search and large RAM usage.
-u, --uracil	If selected, will not replace Uracil bases (U) by Thymine bases (T).
Output
Returns a tab delimited table containing the following default columns:
- identifier: An arbitrary identifier composed of ‘oligoN’ and an increasing integer.
- sequence: the oligonucleotide sequence.
- revCom: the reverse complement sequence (i.e., reverse primer, FISH probe)
- length: the length of the oligonucleotide given in base pairs.
- GC: the GC content given from 0 to 1.
- Tm: an approximation of the basic melting temperature. Note this value should be considered as a baseline for in silico comparison, as a starting point for empirical optimization and never as the ground ruth. It is simply calculated as follows:
  - for short oligonucleotides (<14 bp): Tm = 2*(A+T) + 4*(G+C),
  - for longer oligonucleotides (>13 bp): Tm = 64.9 + 41*(G+C - 16.4) / (A+G+C+T),
  - where A, C, G and T are the number of bases of A, G, C and T respectively.
- F35t: the theoretical formamide concentration at 35ºC. Note this value is based on the basic melting temperature and therefore is an approximation (see ‘Tm’ just above).
- hitsT_prop: the proportion of hits in the target file (from 0 to 1).
- hitsT: the number of hits in the target file.
- hitsE_prop: the proportion of hits in the excluding file (from 0 to 1).
- hitsE: the number of hits in the excluding file.
- mismatch1_prop: the proportion of hits in the excluding file (from 0 to 1) allowing 1 mismatch.
- mismatch1: the number of hits in the excluding file allowing 1 mismatch.
- mismatch2_prop: the proportion of hits in the excluding file (from 0 to 1) allowing 2 mismatches.
- mismatch2: the number of hits in the excluding file allowing 2 mismatches.
Please note that if a different number of mismatches are provided, the last four columns will represent the selected number of mismatches. For example if ‘-n 3’ the last four columns will be replaced by ‘mismatch3_prop’ and ‘mismatch3’.
Additionally, if flanks (‘-b/--flank’) and centered (‘-c/--center’) mismatches are selected another column will followed the given number of mismatches. For example, if default mismatches are selected (i.e., ‘-n 1 2’), 3 flanking bases (i.e., ‘-b 3’) and 60% centered bases (i.e., ‘-c 0.6’) the last 4 columns of the table previously detailed will be complemented with the following: mismatch1_prop, mismatch1, mismatch1_flanks3, mismatch1_central0.6, mismatch2_prop, mismatch2, mismatch2_flanks3, mismatch2_central0.6.
This script can also output a fasta file containing the oligonucleotide sequences (given by the option ‘-f/--fasta’) and/or the reverse complement of the sequences (given by the option ‘-p/--probes’).
Lastly, a summary statistics (similar to that provided by breakFasta, page 13) can also be exported with the the option ‘-S/--stats’.
Examples
sequenceSelect -f mast3.fasta -p 3A -o mast3_target.fasta
sequenceSelect -f mast3.fasta -p 3A -o mast3_excluding.fasta -r
findOligo -t mast3_target.fasta -e mast3_excluding.fasta
# Looks for oligonucleotides of lengths 18 and 20 bases that are present in at least 80% of the sequences from the ‘mast3_target.fasta’ file and at most in 1% of the sequences in the ‘mast3_excluding.fasta’ file and outputs the table to ‘mast3_target_oligos.tsv’.
findOligo -t mast3_target.fasta -e mast3_excluding.fasta -p mast3_probes.fasta
# Does the same as in the previous example and outputs the reverse complement of the found oligonucleotides to ‘mast3_probes.fasta’.
findOligo -t mast3_target.fasta -e mast3_excluding.fasta -l 30 25 22-15 -m 0.95 -s 10 -f mast3_oligos.fasta
# Looks for oligonucleotides of lengths 30, 25, 22, 21, 20, 19, 18, 17, 16, and 15 (and if an oligonucleotide of a smaller length is found within another oligonucleotide of bigger length it will be ignored) that are present in at least 95% of the sequences from the ‘mast3_target.fasta’ file and at most in 10 sequences in the ‘mast3_excluding.fasta’ file. Will output the table to ‘mast3_target_oligos.tsv’ and a fasta file with the selected oligonucleotides to ‘mast3_target_oligos.tsv’.

getHomolog
Description

Given an aligned fasta file and a (unaligned) excluding file, it will create a HMM profile from the aligned file, align the excluding file and export the aligned regions to a fasta file.
This script uses HMMER, please cite accordingly (e.g., HMMER 3.4 (Aug 2023); http://hmmer.org/).
Usage
getHomolog -f FILEIN -e EXCLUDING [-l LENGTH] [-o FILE_OUT] [-s SCORE] [-c] [-k] [-t] [-d] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	An aligned fasta file.
-e, --excluding string	An excluding fasta file to look against.
Optional arguments related to complementarity:
-l, --length int|float	A minimum coverage of the aligned region. Default = 0.25, this means that the aligned sequence from the excluding file must be at least 25% long relative to the HMM profile. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number of bases.
Optional arguments related to the output:
-o, --output string	The name of the output fasta file. By default will remove the extension of the input file and add '_mismatchRegion.fasta'. If the fasta file exists, it will append the sequences at the end and detect similar sequence headings that will be ignored.
-s, --score int|float	A minimum pairwise alignment score to be exported (see 'PairwiseAligner' from the Bio.Align module for further details). Default = 0.90, this means that the aligned sequence from the excluding file must be at least 90% similar to the HMM profile. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage. If the value provided is a 'int(eger)' [1-Inf), it will be interpreted as an absolute number of bases.
-c, --complete	If selected, will export the complete mismatched sequence and not just the region mismatched.
-k, --keep	If selected, will not delete the temporary files ('OUTPUT_hmm_profile.hmm' and 'OUTPUT_hmm_align.fasta') before exiting.
-t, --target	If selected, will also print the (unaligned) input file to the head of the output file.
-d, --delete	If selected, will delete the output file (if exists) before writing it.
Output
Returns an aligned fasta file containing the HMM profile of the input file (given by ‘-f/--file’) and all aligned regions from the excluding file (given by ‘-e/--excluding’) that passed the given criteria (i.e., aligned length with ‘-l/--length’, and pairwise similarity with ‘-s/--score’). If ‘-t/--target’ is selected, it will add at the beginning of the previous fasta file all sequences from the input file.
If ‘-c/--complete’ is selected, it will export an unaligned fasta file containing the HMM profile and the complete sequence that contain the matched regions.
If ‘-k/--keep’ is selected, it will also export the HMM profile as given by HHMER and an aligned fasta file containing the input file, the HMM profile and all the complete sequence that pass the given criteria.
Examples
getMismatchSeq -s CCAGCTCCAATAGCGTATAC -e rads.fasta -m 1 -o homolog.fasta
sequenceSelect -f rads.fasta -p Coll -o homolog_exc.fasta
getHomolog -f homolog.fasta -e homolog_exc.fasta -s 0.8
# Creates a HMM profile from ‘homolog.fasta’, aligns all sequences from ‘homolog_exc.fasta’ to the HMM profile, and exports all aligned regions that are at least 80% similar to the HMM profile to ‘homolog_homologs.fasta’.

getHomologStats
Description

From one or several fasta files, estimates the similarity of all sequences to the first sequences of every file by pairwise sequence alignment. See 'PairwiseAligner' from the Bio.Align module for further details. Briefly, it will output summary statistics of the alignment score, relative to the first sequence.
This function is especially useful to briefly explore the output from ‘getHomolog’ (Page 22) and to help the user select the best region to further design specific oligonucleotides.
Usage
getHomologStats -f FILEIN [FILEIN ...] [-o OUTPUT] [-a] [-p] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	Fasta file(s) containing the region to be compared against the first sequence.
Optional arguments related to the input:
-t, --target	If selected, will assume that the input file contains sequences from the target file, and will ignore all the sequence before that one ending with '_HMM_profile', and compare the HMM profile with all the sequences after that one.
Optional arguments related to the output:
-o, --output string	The name of the output file. By default will print the information to the console.
-a, --absolute	If selected, it will output the statistics as absolute values, and not dividing the scores by the first sequence length.
-p, --plot	If selected, will prompt a histogram with the scores for every file.
Output
Returns summary statistics (i.e., min, percentiles 5, 25, 50, 75, 95, max, mean and standard deviation) printed to the console of one or several fasta files, comparing the first sequence of each file against the rest of the sequences by pairwise alignment. These statistics can be exported to a file given by ‘-o/--output’. Additionally, a histogram with the alignment scores can be prompted with the option ‘-p/--plot’.
Examples
getMismatchSeq -s CCAGCTCCAATAGCGTATAC -e rads.fasta -m 1-3 -o homolog.fasta
getHomologStats -f homolog.fasta -p
# Prints to the console the first sequence (used as reference to compare the rest of the sequences) from ‘homolog.fasta’, some global statistics of the alignment similarity with the rest of the sequences and a histogram with all individual similarities.

getMismatchSeq
Description

Given a sequence and 'm' mismatches, it will export a fasta file with the mismatched region (default) or the complete sequence.
Usage
getMismatchSeq -s SEQUENCE -e EXCLUDING [-m MISMATCHES [MISMATCHES ...]] [-x] [-o FILE_OUT] [-c] [-n NAME] [-v] [-h] [-V]
Arguments
Required arguments:
-s, --sequence string	A fasta file.
-e, --excluding string	A excluding fasta file to look against.
Optional arguments related to mismatches search:
-m, --mismatches int …	The number of mismatches allowed. Default = ['1', '2']. A range can be specified with the '-' sign (i.e. '1-3'). Please bear in mind that an excessively high number of mismatches will considerably slow down the search. If '-m/--mismatches 0', will not test for mismatches.
-p, --positions int …	The positions of the mismatch(es). By default will consider all positions.
-x, --indels	If selected, will not test for insertions and/or deletions.
Optional arguments related to the putput:
-o, --output string	The name of the output fasta file. By default will remove the extension of the input file and add '_mismatches.fasta'. If a name is provided with the '-n/--name' function, it will write the searched sequence in the first entry.
-c, --complete	If selected, will export the complete mismatched sequence and not just the region mismatched.
-n, --name string	If selected, will include the searched sequence in the output fasta file with the given name, and used for the exported fasta file if not given.
Output
Returns a fasta file with the given sequence (‘-s/--sequence’) and all matched regions from the excluding file according to the given number of mismatches and positions selected. This function is similar to getHomolog (page 22), but instead of extracting regions by aligning an HMM profile, regions are extracted by string matching allowing mismatches. This allows more control on the exact mismatched position, but might miss broad yet homologous regions.
Examples
sequenceSelect -f mast1.fasta -p 1A -o excl_mismatches.fasta -r
getMismatchSeq -s TTTGCGGATCGAGGTAAT -e excl_mismatches.fasta -m 1-3 -n NS1A
# Exports a fasta file to ‘NS1A_mismatches.fasta’ containing the parsed sequence (‘TTTGCGGATCGAGGTAAT’) and all regions that hit the sequence with 1, 2 and 3 mismatches.

hairPins
Description

Given a nucleotide sequence, prints to the console all possible hairpin formations.
Usage
hairPins -s SEQUENCE [-b BASES] [-r] [-v] [-h] [-V]
Arguments
Required arguments:
-s, --sequence string	A nucleotide sequence.
Optional arguments related to hairpin formation:
-b, --bases	Minimum number of base pairs required for hairpin formation. Default = 3.
Optional arguments related to the input:
-r, --revComp	If selected, will reverse complement the sequences before testing.
Output
Returns to the console all possible hairpin formations according to the given parameters.
Examples
hairPins -s CCAGCTCCAATAGCGTATAC
# Prints to the console all potential hairpins of the given oligonucleotide with a minimum number of 3 bases.
hairPins -s ACGTCGATGACGT -b 5 -r
# Prints to the console all potential hairpins of the given oligonucleotide with a minimum number of 5 bases after reverse-complementing the input sequence.

identifyRegions
Description

From a fasta file containing different potential oligonucleotides, identifies regions of interest and groups together oligonucleotides related to the same region.
Usage
identifyRegions -f FILE_IN [-a ALIGN] [-o OUTPUT] [-e FASTA] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A fasta file containing the oligonucleotides.
Optional arguments related to defining regions:
-a, --align float	An alignment threshold. Default = 0.5, meaning that it is required that at least 50% of the length of the smallest given oligonucleotide is identical to be considered within a region.
Optional arguments related to the output:
-o, --output string	The output file name. By default will replace the extension of the target file with '_regions.tsv'.
-e, --export	If selected, will export a fasta file with the selected regions to the given output.
Output
Returns a tab delimited table with the following columns:
- region: an arbitrary identifier composed of ‘region’ and an increasing integer.
- sequence: the resulting sequence from grouping different oligonucleotides as different sliding windows of the one region.
- length: the length of the region.
- oligos: the number of oligonucleotides that were observed in the given region.
- identifiers: the identifiers of the oligonucleotides observed in the given region.
If ‘-e/--export’ is selected, it will export a fasta file containing the resulting regions named with their arbitrary identifier followed the size of that region in terms of number of oligonucleotides and separated by an underscores (‘_’). For example if the second region was obtained from 10 different oligonucleotides it will be named as ‘region2_size10’.
Examples
sequenceSelect -f mast3.fasta -p 3A -o mast3_target.fasta
sequenceSelect -f mast3.fasta -p 3A -o mast3_excluding.fasta -r
findOligo -t mast3_target.fasta -e mast3_excluding.fasta -l 20 -f mast3_oligos.fasta
identifyRegions -f mast3_oligos.fasta -e mast3_regions.fasta
# Exports a tab delimited table to ‘mast3_oligos_regions.tsv’ with the following columns: (i) an arbitrary unique identifier, (ii) the region sequence, (iii) the region length, (iv) how many oligonucleotides were found in the given region, and (v) the identifiers of the oligonucleotides found in the given region. It will also export a fasta file to ‘mast3_regions.fasta’ with the identified regions named with the unique identifier and the size of the region (in terms of how many oligos were found within it).

logStats
Description

Returns overall statistics and numbers from a log file.
Usage
logStats -f FILEIN [-c COLUMNS [COLUMNS ...]] [-p] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A tab delimited table.
Optional arguments related to the input:
-c, --columns string ...	The columns to calculate the stats to. By default will do all columns except the identifier (named: 'identifier') and the sequences (named: 'sequence' and/or 'revCom').
Optional arguments related to the output:
-p, --plot	If selected, will prompt a histogram with the scores for each column independently.
Output
Returns summary statistics (i.e., min, percentiles 5, 25, 50, 75, 95, max, mean and standard deviation) to the console of one or several columns from the tab delimited input file. Additionally, a histogram with the scores can be prompted with the option ‘-p/--plot’.
Examples
sequenceSelect -f rads.fasta -p Acantharea -o rads_target.fasta
sequenceSelect -f rads.fasta -p Acantharea -o rads_excluding.fasta -r
findOligo -t rads_target.fasta -e rads_excluding.fasta
logStats -f rads_target_oligos.tsv
# Will print summary statistics of the ‘oligos.tsv’ file to the console.
logStats -f rads_target_oligos.tsv -c hitsT_prop -p
# Will print summary statistics of the proportion of hits against the target file from the table ‘oligos.tsv’ file to the console and prompt a histogram.

multi2linefasta
Description

Converts a fasta file where the sequences are in multiple lines to a fasta file where each sequence is in one line.
This function is mostly used for debugging search functions, especially ‘testOligo’.
Usage
multi2linefasta -f FILE_IN [-o FILE_OUT] [-r] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	Input fasta file.
Optional arguments related to the output:
-o, --output string	Output fasta file. By default will add '_1line' before the extension.
-r, --replace	If selected, will replace the input file instead of creating a new file.
Output
Returns (or replace, if ‘-r/--replace’ is selected) a fasta file with the sequences in a single line. See “Input and output formats” (page 7) for further details.
Examples
multi2linefasta -f mast1.fasta
# Transform the input file (‘target.fasta’) to ‘target_1line.fasta’ with the sequences in one line, instead of in multiple lines.
multi2linefasta -f excluding.fasta -r
# Replaces the sequences from ‘excluding.fasta’ stored in multiple lines to a single line.

oligoNdesign
Description

This script is a wrapper to run a basic pipeline and select the best oligonucleotides from a target and a excluding file.
This wrapper uses MAFFT (https://mafft.cbrc.jp/alignment/software/) and agrep among others Please cite: Katoh, Misawa, Kuma, Miyata (2002) MAFFT: a novel method for rapid multiple sequence alignment based on fast Fourier transform. Nucleic Acids Res. 30:3059-3066. doi: 10.1093/nar/gkf436
The accessibility map of the SSU of the ribosome is based on Behrens S, Rühland C, Inácio J, Huber H, Fonseca A, Spencer-Martins I, Fuchs BM, Amann R (2003) In situ accessibility of small-subunit rRNA of members of the domains Bacteria, Archaea, and Eucarya to Cy3-labeled oligonucleotide probes. Appl Environ Microbiol 69(3):1748-58. doi: 10.1128/AEM.69.3.1748-1758.2003.
The basic pipeline will run the following functions in the given order:
'findOligo' (page 18): extract all candidate oligos of lengths 18 and 20 base pairs that are present in at least 80% of the sequences in the target file, and at most 1% in the excluding file.
'testOligo' (page 38): (if not disabled) test for 1 and 2 mismatches allowing insertions and deletions of the candidate oligos against the excluding file.
'alignOligo' (page 11): align all candidate oligos against a template of the SSU and consensus sequences from the target file.
'rateAccess' (page 31): test the accessibility in the tertiary structure of the given oligonucleotide region.
'bindLogs' (page 12): bind all log files.
'selectLog' (page 33): selects the best 4 oligonucleotides.
For further details of each function call the help command ('-h') on the given function.
Its most basic output is composed of three final files:
'PREFIX_log.tsv': A tab delimited table containting details for each candidate oligonucleotide.
'PREFIX_candidates.fasta': A fasta file containing all candidate oligonucleotides.
'PREFIX_best.tsv': A filtered table containing only the details of the 4 best oligonucleotides ranked.
Although the '-k' argument will keep other intermediate files:
'PREFIX_aligned.fasta': An aligned fasta file containing the SSU template, 2 consensus sequences of the target file, and all candidate oligos.
'PREFIX_best.fasta': A fasta file containing the 4 best oligonucleotides ranked.
Usage
oligoNdesign -t TARGET -e EXCLUDING -p PREFIX [-l] [-m] [-s] [-c] [-n] [-f] [-g] [-k]
Arguments
Required arguments:
-t string	The fasta file containing the target group.
-e string	The fasta file containing the excluding group.
-o string	The prefix for the output files.
Optional arguments:
-l int ...	The lengths of the desired oligonucleotides (in between quotes). Default = '16-21'.
-m int|float	The minimum presence in the target file. Default = 0.8
-s int|float	The maximum presence in the excluding file. Default = 0.01.
-c float	A minimum (and maximum) GC content (in between quotes). Default = 0.
-n int	The number of best oligonucleotides to select. Default = 4.
-f	It will not test for indels when searching for 1 and 2 mismatches, speeding up completion.
-a	It will not test accessibility of the oligonucleotides. Recommended for very large target files or when not using the SSU rDNA.
-g 18S|16S	The Small SubUnit of the rDNA: Either '18S' (default) or '16S'.
-k	It will keep intermediate relevant files.
-r	It will print the exact commands to the console without running them.
Output
Returns three default files:
- A tab delimited table containing the details for each candidate oligonucleotide ('PREFIX_log.tsv'; see ‘findOligo’, page 18, for further details).
- A fasta file containing all candidate oligonucleotides ('PREFIX_candidates.fasta', see ‘findOligo -f’, page 18, for further details).
- A filtered table containing only the details of the 4 best oligonucleotides ranked ('PREFIX_best.tsv', see ‘selectLog’, page 33, for further details).
Additionally, two more files can be returned with the option ‘-k’:
- An aligned fasta file containing the SSU template, 2 consensus sequences of the target file, and all candidate oligos ('PREFIX_aligned.fasta', see ‘alignOligo’, page 11, for further details).
- A fasta file containing the selected 4 best oligonucleotides ranked (‘PREFIX_best.fasta').
Examples
sequenceSelect -f mast3.fasta -p 3A -o mast3_target.fasta
sequenceSelect -f mast3.fasta -p 3A -o mast3_excluding.fasta -r
oligoNdesign -t mast3_target.fasta -e mast3_excluding.fasta -o mast3_oligos
# Runs the so-called basic pipeline using ‘target.fasta’ as target file and ‘excluding.fasta’ as excluding file and export three files: 'oligos_log.tsv', 'oligos_candidates.fasta', and 'oligos_best.tsv' (see “Description” for further details).
oligoNdesign -t mast3_target.fasta -e mast3_excluding.fasta -o mast3_oligos_quick -f -k -n 10
# Does the same as the previous example, but faster (without testing for indels), keeping intermediate files (‘oligos_aligned.fasta' and ‘oligos_best.fasta'), and selecting the 10 best oligonucleotides (instead of 4 as default).

oligoNtest
Description

This script is simply to test all scripts from the oligoN-design pipeline. It will run all sripts, and print their version to the console.
Usage
oligoNtest [-p]
Arguments
Optional arguments:
-p string	A path to the scripts. By default, it will take the directory name of the command to run this function.
Output
Returns the version number of all oligoN-design scripts (except ‘oligoNtest’).
Examples
oligoNtest
# Prompts the version of every function from oligoN-design and exists.

rateAccess
Description

Estimate the accessibility of the oligonucleotides in the rDNA by comparing the relative positions to the templates of Saccharomyces cerevisiae (18S rDNA, default) or Escherichia coli (16S rDNA) as described in Behrens et al. (2003; 10.1128/AEM.69.3.1748-1758.2003).
Ideally, ‘rateAccess’ uses as input file the output file from ‘alignOligo’ (page 11), although the user may provide a custom made fasta file if desired. To do so, the user needs to provide a fasta file with (i) the template sequence of the accessibility map (with ‘template’ somewhere in the sequence name ; i.e, ‘Saccharomyces_cerevisiae_template’), (ii) a consensus sequence of the target file (with ‘consensus’ somewhere in the sequence name), and (iii) the oligonucleotides to estimate the accessibility score (with ‘oligoN’ or ‘region’ in their sequence names). Note that only the first sequences with the ‘template’ or ‘consensus’ identifiers will be taken for the rating, so other sequences may also be present in the fasta file for visual guidance (such as more than one consensus sequence) and they will be ignored. Lastly, if a consensus sequence name also contains ‘mostAbundant’, it will be used regardless of the input order.
Usage
rateAccess -f FILE_IN [-a ACCESSMAP] [-o FILE_OUT] [-e EXPORT] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A fasta file with the (1) DNA template used to estimate the accessibility map (e.g.; S. cerevisiae 18S sequence), (2) the consensus sequence(s) of the target file and (3) the oligonucleotides aligned. Note sequences will be identified by containing the words 'template', 'consensus' and 'oligoN' respectively, and preferably will take the consensus sequence with the most abundant base as consensus to avoid ambiguities.
Optional arguments related to accessibility map:
-a, --accessMap	The accessibility map table of the 18S rDNA ('18S', default), 16S rDNA ('16S') or a custom made table. The default 18S and 16S tables are taken from the accessibility maps from Behrens et al. (2003) and they can be exported with the option 'exportAccessMap' to the desired location. The table must have the following columns in the given order and tab delimited: position, region, base, brightness Class, maximum relative brightness and minimum relative brightness. See documentation for further details on the contents of this file.
Optional arguments related to the output:
-o, --output string	The name of the output file. Default will remove the extension of the input alignment file and add '_access.tsv'. See documentation for further details on the contents of this file.
-e, --exportAccessMap string	If selected, will export the default accessibility map table to the specified file and exit.
Output
Returns a tab delimited table with the following default columns:
- identifier: the identifiers of the given oligonucleotides.
- sequence: the sequence of the given oligonucleotides.
- start_position: the starting position of the given oligonucleotides on the consensus region.
- region: the approximate hypervariable (named from V1 to V9) or conserved (named from C1 to C10) region in the SSU.
- Scerevisae_start_position: the starting position of the given oligonucleotides on the S. cerevisae template.
  - Note that if ‘-a/--accessMap 16S’ is selected, this column will instead be named ‘Ecoli_start_position’.
  - If a different accessibility map is provided, this column will instead be named ‘template_start_position’.
- average_max_brightness: the average of the maximum fluorescence hybridization signals for the given positions of the template gene given in relative brightness (from 0 to 1). See Behrens et al. (2003), for further details.
- average_min_brightness: the average of the minimum fluorescence hybridization signals for the given positions of the template gene given in relative brightness (from 0 to 1). See Behrens et al. (2003), for further details.
- average_brightness: the overall average relative brightness of the given region.
- class: an arbitrary grouping according to the relative fluorescence hybridization signals into six classes of brightness (See Behrens et al., 2003, for further details):
  - class I (>0.81)
  - class II (0.8 - 0.61)
  - class III (0.6 - 0.41)
  - class IV (0.4 - 0.21)
  - class V (0.2 - 0.06)
  - class VI (0.05 – 0).
If ‘-e/--exportAccessMap’ is selected, a tab delimited table with the accessibility map will be exported to the given output.
Examples
alignOligo -t rads.fasta -p oligos.fasta
rateAccess -f oligos_aligned.fasta
# Exports a tab delimited table to ‘oligos_aligned_access.tsv’ with the accessibility scores for every oligonucleotide in ‘oligos.fasta’ after the S. cerevisiae 18S rDNA template.
rateAccess -e access_map.tsv -a 16S
# Exports a tab delimited table to ‘access_map.tsv’ of the E. coli 16S rDNA accessibility map.

selectLog
Description

Select the N best oligonucleotides from a tab delimited table by ranking chosen columns and selecting the oligonucleotides with the lowest average rank. This script works best if you want to select by many columns (i.e. >~4). Otherwise a manual selection might work better.
Usage
selectLog -t TABLE [-c COLUMNS [COLUMNS ...]] [-r ORDER [ORDER ...]] [-i IDS [IDS …]] [-w WEIGHTS [WEIGHTS ...]] [-T] [-o OUTFILE] [-n NUMBER] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file	A tab delimited table to be filtered.
Optional arguments related to the selection:
-c, --columns string ...	The columns to be ranked for selecting the best candidate probes. Default = ['hitsT', 'hitsE', 'mismatch1', 'mismatch2'].
-r, --order descending|d|ascending|a ...	The order in which the given columns will be ranked (i.e., descending or ascending numbers). The initials can also be used. Default= ['defaults'], which will apply common orders after the column names used in this pipeline (i.e., 'descending, ascending, ascending, ascending' for the default column names).
-i, --ids string|int string|int	The columns bearing the 'oligonucleotide name' and the 'sequence'. It can be given either the column names or the number of the columns. Default = 1 2 (first and second columns).
-w, --weights int|float …	A list of weights for the respective columns to calculate the weighted mean. By default will calculate an arithmetic mean.
-T, --thorough	A shortcut to apply a thorough selection of the columns to be ranked: length, hitsT, hitsE, average_brightness, self-dimer_count, hairpin_count, max_consecutive, mismatch1_thorough, mismatch2_thorough.
Optional arguments related to the output:
-o, --outFile string	The name of the output log file. By default, will print the ranked oligos to the console.
-n, --number int	The number of the best oligonucleotides to be shown. By default will rank all.
Output
Returns a tab delimited subset of the input file with the lowest ranked oligonucleotides. For clarity, all selected columns will be ranked (from 1 to Inf), and the average of all ranks will be computed per oligonucleotide. At the end the lowest ranked oligonucleotides will be selected. For example:
identifier	hitsT	hitsE	mismatch1
oligoN1	40	15	30
oligoN2	38	2	2
oligoN3	35	10	20
oligoN4	36	1	3
This table will be ranked as follows:
identifier	hitsT	hitsE	mismatch1
oligoN1	1	4	4
oligoN2	2	2	1
oligoN3	4	3	3
oligoN4	3	1	2
And the oligonucleotides will have the following resulting ranking:
identifier	average rank
oligoN1	3
oligoN2	1.6
oligoN3	3.3
oligoN4	2
This will result in oligoN2 as the best oligonucleotide with the lowest average ranking (1.6), followed by oligoN4 (2), oligoN1 (3) and oligoN3 (3.3).
Examples
sequenceSelect -f mast1.fasta -p 1A -o mast1_target.fasta
sequenceSelect -f mast1.fasta -p 1A -o mast1_excluding.fasta -r
findOligo -t mast1_target.fasta -e mast1_excluding.fasta -c 0.6
selectLog -f mast1_target_oligos.tsv \
-c hitsT hitsE mismatch1 mismatch2 mismatch1_central0.6 \
-r d a a a a \
-w 1 1 1 0.2 2 \
-n 10 -o mast1_target_oligos_selected.tsv
# (Just a convoluted example to show options) Exports the 10 best oligonucleotides to ‘mast1_target_oligos_selected.tsv’ based on the (i) hits to the target file (in descending order, so the more hits the better), (ii) hits against the excluding file (in ascending order, so the less hits the better), (iii) hits allowing 1 mismatch against the excluding file (ascending), (iv) hits allowing 2 mismatches against the excluding file (ascending), and (v) hits allowing 2 mismatches and positioned in the 60% central bases against the excluding file (ascending). On top of that, the central mismatches are weighted double whereas 2 mismatches are weighted 20%, compared to the hits and the hits allowing 1 mismatch.

selfDimer
Description

Given a nucleotide sequence, prints to the console all possible self-dimers.
Usage
selfDimer -s SEQUENCE [-b BASES] [-r] [-v] [-h] [-V]
Arguments
Required arguments:
-s, --sequence string	A nucleotide sequence.
Optional arguments related to self-dimer formation:
-b, --bases int	Minimum number of base pairs required for self-dimerization. Default = 5.
Optional arguments related to the input:
-r, --revComp	If selected, will reverse complement the sequences before testing.
Output
Returns to the console all possible self-dimers according to the given parameters.
Examples
selfDimer -s CCAGCTCCAATAGCGTATAC
# Prints to the console all potential self-dimer with a minimum number of 5 bases.
selfDimer -s ACGTCGATGACGT -b 8 -r
# Prints to the console all potential self-dimers with a minimum number of 8 bases after reverse-complementing the input sequence.

sequenceSelect
Description

Select sequence in a fasta file either from a list or that match a pattern and extract them or remove them.
Usage
sequenceSelect -f FILE_IN [-l LISTSEQ] [-p PATTERN [PATTERN ...]] [-k] [-r] [-o FILE_OUT] [-u] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	Input fasta file. Avoid spaces in the sequence names.
Required at least one of:
-l, --list string	List of sequences to be selected. This must be a different file with each sequence name in a different line.
-p, --pattern string …	Pattern(s) to be matched for selection of the sequences. When using this option in combination with '-k/--keep', it might be faster to use 'grep -A 1 PATTERN FILE_IN > FILE_OUT' if each sequence from the input file is in a single line.
Optional arguments related to the output:
-o, --output string	Output file. By default will add '_selected' to the input file name. If the file already exists, sequences will be appended at the end of the file.
-k, --keep	If selected, will export selected sequences. If neither this argument nor '-r/--remove' are selected, this argument will be set by default.
-r, --remove	If selected, will delete selected sequences. If both this argument and '-k/--keep' are selected, this argument will be ignored.
-u, --uracil	If selected, will not replace Uracil bases (U) by Thymine bases (T).
Output
Returns a fasta file with the selected (or excluded) sequences.
Examples
grep GU mast3.fasta | sed 's/>//g' > mast3_names.list
sequenceSelect -f mast3.fasta -l mast3_names.list
# Selects all sequences from ‘mast3.fasta’ that are in ‘mast3_names.list’ and exports them to ‘mast3_selected.fasta’.
sequenceSelect -f mast3.fasta -o mast3_target.fasta -p 3I
# Selects all sequences that contain the string ‘3I’ from ‘mast3.fasta’ and exports them to ‘mast3_target.fasta’.
sequenceSelect -f mast3.fasta -o mast3_excluding.fasta -p 3I -r
# Selects all sequences that NOT contain the string ‘3I’ from ‘mast3.fasta’ and exports them to ‘mast3_excluding.fasta’.

table2fasta
Description

Exports a fasta file from a tab delimited table.
Usage
table2fasta -f FILE_IN [-n] [-c COLUMNS COLUMNS] [-o FILE_OUT] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A tab delimited file.
Optional arguments related to the input:
-c, --columns string|int string|int	The columns to be exported in the order 'oligonucleotide name' and 'sequence'. It can be given either the column names or the number of the columns. Default = [1, 2] (first and second columns).
-n, --noHeaders	If selected, will interpret the file has no headers.
Optional arguments related to the output:
-o, --output string	The name of the output file. By default will replace the extension to '.fasta'.
Output
Returns a fasta file from a tab delimited table.
Examples
sequenceSelect -f rads.fasta -p Acantharea -o rads_target.fasta
sequenceSelect -f rads.fasta -p Acantharea -o rads_excluding.fasta -r
findOligo -t rads_target.fasta -e rads_excluding.fasta -o rads_oligos.tsv
table2fasta -f rads_oligos.tsv
# Exports to ‘rads_oligos.fasta’ a fasta file with the sequence names extracted from the first column and the sequences from the second column, understanding there are headers in the input table (‘rads_oligos.tsv’).
table2fasta -f rads_oligos.tsv -c 1 3 -o rads_oligos_revCom.fasta
# Exports to ‘rads_oligos_revCom.fasta’ a fasta file with the sequence names extracted from the first column and the sequences from the third column, understanding there are headers in the input table (‘rads_oligos.tsv’).

testOligo
Description

Test oligonucleotides against a excluding file allowing mismatches. Note this script will also count the exact hit.
This script is a wrapper using 'agrep'
Usage
testOligo -p OLIGOS -e EXCLUDING [-o OUTPUT] [-m 'MISMATCH']
Arguments
Required arguments:
-p string	Oligonucleotides fasta file.
-e string	Excluding fasta file.
Optional arguments:
-o string	Output log file. By default, will replace the extension of the oligonucleotides file by '_tested.tsv'.
-m int ...	The number of mismatches (in between quotes). Default='1 2'.
Output
Returns a tab delimited table with the following default columns:
- identifier: the identifiers of the given oligonucleotides.
- sequence: the sequence of the given oligonucleotides.
- mismatch1_indel_prop: the proportion of hits in the excluding file (from 0 to 1) allowing 1 mismatch.
- mismatch1_indel: the number of hits in the excluding file allowing 1 mismatch.
- mismatch2_indel_prop: the proportion of hits in the excluding file (from 0 to 1) allowing 2 mismatches.
- mismatch2_indel: the number of hits in the excluding file allowing 2 mismatches.
Please note mismatches from this function contain the identifier ‘*_indel*’ so that it can be distinguished from mismatches estimated by other means such as findOligo (with no identifier) or testThorough (with the identifier ‘*_thorough*’).
Please note that if a different number of mismatches are provided, the last four columns will represent the selected number of mismatches. For example if ‘-m 3’ the last four columns will be replaced by ‘mismatch3_indel_prop’ and ‘mismatch3_indel’.
Examples
testOligo -e mast1.fasta -p oligos.fasta -m '3 4'
# For every oligonucleotide in ‘oligos.fasta’, exports to ‘oligos_tested.tsv’ a tab delimited table with the proportion and absolute number of hits allowing 3 and 4 mismatches against ‘mast1.fasta’.

testTarget

Description

Test whether the sequences of a fasta file contain or not a set of oligonucleotides in another fasta file.
Usage
testTarget -t FILE_IN -f OLIGOS [-p] [-m MISMATCHES [MISMATCHES ...]] [-x] [-o FILE_OUT] [-a ABSENCE] [-b] [-d DETAILED] [-v] [-h] [-V]
Arguments
Required arguments:
-t, --target string	A target fasta file.
-f, --file string	A fasta file containing the oligonucleotides.
Optional arguments related to the input:
-p, --revComp	If selected, will reverse complement the oligonucleotides before testing.
Optional arguments related to the testing:
-m, --mismatches int ...	The number of mismatches allowed. Default = ['0'], will not test for mismatches. A range can be specified with the '-' sign (i.e. '0-2'). Please bear in mind that an excessively high number of mismatches will considerably slow down the search.
-x, --indels	If selected, will not test for insertions and/or deletions.
Optional arguments related to the output:
-o, --output string	The name of the output file. By default will remove the extension of the input file and add '_testTarget.tsv'. This will generate a table with the sequences to be tested as rows, oligos as columns and the values represent the position in the sequence at which the oligo was found.
-a, --absence string	The value to represent absence of oligonucleotide. Default = '0'.
-b, --binary	If selected, values exported will be replaced by '1' and '0’, oligonucleotide present and absent respectively.
-d, --detailed string	If a file name is provided, it will export to the given output a fasta file with all oligonucleotides found aligned to each sequence. This option becomes visually impractical with many oligonucleotides (e.g., > ~100 seqs).
Output
Returns a table with the target sequences as rows, the oligonucleotides as columns, and the values represent the position of the oligonucleotide in the given sequence at which the oligonucleotide is found. When the oligonucleotide is not found, its position is by default ‘0’, yet it can be modified with the option ‘-a/--absence’.
If a file name is provided through the option ‘-d/--detailed’, it will export to the given output name a fasta file with all found oligonucleotides aligned to each of the sequences in the target file independently. Oligonucleotide names will be followed by an increasing integer to avoid repeating identifiers (e.g., ‘oligoN1’ will be ‘oligoN1_1’, ‘oligoN1_2’, etc.)
Examples
testTarget -t mast1.fasta -f oligos.fasta -m 0-2 -d mast1_testTarget.fasta
# Exports a tab delimited table to ‘mast1_testTarget.tsv’ containing all position at which the oligonucleotides in ‘oligos.fasta’ are found allowing 0, 1 and 2 mismatches. Additionally, a fasta file is exported to ‘mast1_testTarget.fasta’, with all found oligonucleotides aligned to each independent sequence from the ‘mast1.fasta’.

testThorough
Description

Test thoroughly a fasta file containing oligonucleotides against a excluding fasta file. It will test for self-dimers, hairpins, consecutive bases and/or mismatches.
Usage
testThorough -f FILE_IN -e EXCLUDING [-p] [-s] [-S SELFDIMERBASES] [-a] [-A HAIRPINPOSITIONS] [-k] [-m MISMATCHES [MISMATCHES ...]] [-b FLANK] [-c CENTER] [-x] [-o FILE_OUT] [-t TABLE] [-n] [-i] [-u UNIQUE [UNIQUE ...]] [-d DELIMITER] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	A fasta file.
-e, --excluding string	A excluding fasta file to look against.
Optional arguments related to the input:
-p, --revComp	If selected, will reverse complement the sequences in the input file before testing.
Optional arguments related to the testing:
-s, --selfDimer int	Minimum number of base pairs required for self-dimerization. Default = 5. If ‘0’, will not test for self dimerization.
-a, --hairpin int	Minimum number of base pairs required for hairpin formation. Default = 3. If ‘0’, will not test for hairpin formation.
-k, --consecutives	If selected, will not search the maximum string of repeated consecutive bases.
-m, --mismatches int ...	The number of mismatches allowed. Default = ['1', '2']. A range can be specified with the '-' sign (i.e. '0-3'). Please bear in mind that an excessively high number of mismatches will considerably slow down the search. If '0', will not test for mismatches.
-b, --flank int|float	The number of leading and trailing (flanks) bases to flag when the given number of mismatches are found within. Default = 0, it will not look for leading nor trailing mismatches. If (e.g.,) 3 is selected along with 2 mismatches, it will count how many hits are occurring when 2 mismatches are present within 3 flanking bases. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage of the given oligo length.
-c, --center int|float	Similar to '-b/--flank' but centered. Default = 0, it will not look for centered mismatches. If (e.g.,) 10 is selected along with 2 mismatches, it will count how many hits are occurring when 2 mismatches are present in the 10 centered bases. If the value provided is a 'float' [0.0-1.0], it will be interpreted as a percentage of the given oligo length.
-x, --indels	If selected, will not test for insertions and/or deletions.
Optional arguments related to the output:
-o, --outputm string	The name of the output file. By default will remove the extension of the input file and add '_testThorough.tsv'. The file will contain and entry for every oligonucleotide with the name of the oligonucleotide, the sequence, the observed number of dimers, the observed number of hairpins, the maximum string of consecutive bases, and the absolute number of hits, the proportion of hits, and the mismatches per position for every number of mismatches selected.
-t, --table string	If selected, will export a summarized output of global analyses in table format to the given output (i.e., total self-dimer counts, but not the examples).
-n, --extended	If selected, will add a detailed report of the mismatches at every position. It will also add '_testThoroughExt.tsv' to the output name if not provided.
-i, --identity	If selected, will not append the identity of the mismatched hits. This output can be summarised with the arguments '-u/--unique' and '-d/--delimiter' and target specific elements of the sequence identifiers if properly formatted. This output will not be included in the table (if selected).
-u, --unique int ...	The unique field(s) of the sequence identifiers in the excluding file. Works similar to ‘-f’ from the bash command ‘cut’.
-d, --delimiter string	The delimiter separating fields from the sequence identifiers in the excluding file. Works similar to ‘-d’ from the bash command ‘cut’.
Output
Returns a detailed log file containing information on self-dimers, hairpins, consecutive bases and/or mismatches and the identity and position of the mismatches. This is probably the most complicated output from all different functions, and it will depend on the selected arguments. Going argument by argument the output will contain:
All possible self-dimers (‘-s/--selfDimer’) will be highlighted (for example) as follows:
5' GGAGGGCAAGTCTGGT----- 3'
        | || || |
3' -----TGGTCTGAACGGGAGG 5'
All possible self-dimers (‘-a/--hairpin’) will be highlighted (for example) as follows:
GGAGGGCAAGTCTGGTGC
-----***-------***
Consecutive bases (‘-k/--consecutives’) will be highlighted (for example) as follows:
C A GG T C T G T G A T G CCC
By default, for every mismatch it will show the unique number of hits at every mismatched position, and all unique identifiers (or identity) of the mismatched sequence. The option ‘-n/--extended’ will instead provide the mismatched identity at every position. These identities can be summarized with the options ‘-u/--unique’ and ‘-d/--delimiter’ (see examples below). And the option ‘-i/--identity’ will ignore the identity information. Lastly, flanking (‘-b/--flank’) and central (‘-c/--center’) bases, if selected, will be highlighted with a ‘+’ and ‘*’ respectively at the given position.
This detailed log output can also be exported as a summary in a tab delimited format with the option ‘-t/--table’. However, given that testThorough is the most computationally demanding function of oligoN-design, the detailed log output can always be summarized into a table with the function detailed2table (page 15). The summary table contain the following default columns:
- Identifier: the identifiers of the given oligonucleotides.
- sequence: the sequence of the given oligonucleotides.
- self-dimer_count: the total number of self-dimers.
- hairpin_count: the total number of hairpins.
- max_consecutive: the maximum number of consecutive bases.
- mismatch1_thorough_prop: the proportion of hits in the excluding file (from 0 to 1) allowing 1 mismatch.
- mismatch1_thorough: the number of hits in the excluding file allowing 1 mismatch.
- mismatch2_thorough_prop: the proportion of hits in the excluding file (from 0 to 1) allowing 2 mismatches.
- mismatch2_thorough: the number of hits in the excluding file allowing 2 mismatches.
Please note mismatches from this function contain the identifier ‘*_thorough*’ so that it can be distinguished from mismatches estimated by other means such as findOligo (with no identifier) or testOligo (with the identifier ‘*_indel*’).
Please note that if a different number of mismatches are provided, the last four columns will represent the selected number of mismatches. For example if ‘-m 3’ is selected, the last four columns will be replaced by ‘mismatch3_thorough_prop’ and ‘mismatch3_thorough’.
Examples
testThorough -f oligos.fasta -e mast3.fasta -b 3 -c 0.6 -i -t oligos_testThoroughTable.tsv
# Exports a log file to ‘oligos_testThorough.tsv’ with all the default tests (selfdimers, hairpins, consecutive bases, 1 and 2 mismatches allowing indels), tests for mismatches happening in the 3 first and last bases and in the 60% central bases, do NOT include the identity of the hits and exports a summary table to ‘oligos_testThoroughTable.tsv’.
testThorough -f oligos.fasta -e mast3.fasta -n -u 7 8 -d '|'
# Exports an extended log file to ‘oligos_testThoroughExt.tsv’ with all the default tests including the identity of the hits but summarised to the 7th, and 8th field separated by a pipe ('|'). For example, from ‘Eukaryota|TSAR|Stramenopiles|Bigyra|Opalozoa|Nanomonadea|MAST-3|MAST-3_X|MAST-3_X_sp.|GU823755’, will extract ‘MAST-3|MAST-3_X’.

trimRegion
Description

Trim an alignment on a given region.
Usage
trimRegion -f FILEIN [-r REGION [REGION ...]] [-p POSITIONS [POSITIONS …]] [-s SEQUENCES [SEQUENCES ...]] [-o FILE_OUT [FILE_OUT ...]] [-d PATH] [-n] [-k] [-v] [-h] [-V]
Arguments
Required arguments:
-f, --file string	An aligned fasta file.
Required at least one of:
-r, --region string ...	The oligonucleotide sequence to be searched (i.e., 'CAGTATTCTGAAGCGAGA') or the name of the sequence containing the region to be trimmed (i.e., 'oligoN4').
-p, --positions int ...	The positions in the alignment to be kept separated by an hyphen (i.e., ’316-334 914-952’).
-s, --sequences string ...	A fasta file(s) contaning the oligonucleotides sequences to be searched.
Optional arguments related to the output:
-o, --output string ...	The name(s) of the output fasta file(s). By default will remove the extension of the input file and add '_trimmed.fasta'. If more than one trimmed regions are given, by default will add consecutive integers after '_trimmed' (i.e., '_trimmed1.fasta', '_trimmed2.fasta').
-d, --path string	The path of the output files. Useful when default output names are given, but in a different directory. By default it will use the current directory. If names are provided through the '-o/--output' argument, this argument will be ignored.
-n, --name	If selected, will use the name of the sequences from the fasta file parsed by '-s/--sequences' for the output name.
-k, --keep	If selected, will not delete empty sequences or sequences composed only of the trimmed region.
Output
Returns a fasta file.
Examples
mafft rads.fasta > rads_align.fasta
trimRegion -f rads_align.fasta -r CCAGCTCCAATAGCGTATAC CAGGTCTGTGATGCCC -d regions
# Exports to the directory ‘regions’ two fasta files (‘regions/target_align_trimmed1.fasta’ and ‘regions/target_align_trimmed2.fasta’) corresponding to the two given regions.
trimRegion -f rads_align.fasta -p 600-1100 -k -o rads_align_V4.fasta
# Exports a fasta file to ‘rads_align_V4.fasta’ containing all sequences (empty or incomplete) resulting from removing all position before the position 450 and after 900 from the ‘target_align.fasta’ file.
trimRegion -f rads_align.fasta -s oligos.fasta -d regions -n
# Exports to the directory ‘regions’ as many fasta files as there are sequences in the ‘oligos.fasta’ file and name those exported fasta files with the name of the sequences.

# Common problems and misconceptions
## Poorly curated target file
It is important to understand some search parameters of this tool. For example, by default findOligo will identify oligonucleotides that are present in 80% of the sequences of your target file. If the target and excluding files contain clear subsets of sequences (i.e., full length rDNA along with short metabarcoding reads of specific hypervariable regions), it might be worth splitting the files and analysis so that each set of files correspond to the nearly same region to optimize different specificity criteria (i.e., ‘ -m ’ and ‘-s’ in ‘findOligo’). For example, if less than 80% of the sequences in your target file are missing the V4 region of the SSU, there will be no identified oligonucleotides in the V4 region. To solve that issue, you could either lower the ‘-m/--minimum’ criteria, or (recommended) repeat the search with a different target file containing sequences of comparable length/regions.
Additionally, despite enormous and invaluable efforts to manually curating reference databases, taxonomic annotation is not perfect. Therefore, it is possible that the region of interest might also be present in the excluding file due to chimeric sequences, badly annotated sequences or simply high similarity to other groups. It is therefore recommended to be aware of such limitations, explore the hits against the excluding file, and repeat the curation of the files if needed.
## Too divergent sequences in the target file
It may happen that the selected target group contains sequences too divergent with clear subgroups, and it is not possible to find specific oligonucleotides. In this case it might be worth dividing the target group into the different groups and run independent searches.
## Different number of hits against the excluding file
If a fasta file is storing the sequences in different lines, it may happen that a ‘grep -c’ yields different number than that provided by ‘findOligo’ or ‘testOligo’. That might be because the given pattern is broken into different lines (e.g.: ‘ACGT\nGCTA’). As already mention, when searching for patterns in fasta files we recommend to store the sequences in a single line (see ‘multi2linefasta’, page 28).
In a further level of complexity, mismatches are interpreted differently among the different search functions:
-findOligo: measures only exact mismatches of the four DNA bases (A, C, G and/or T).
-testOligo: measures mismatches by distance.
-testThorough: measures exact mismatches allowing insertions of one base and deletions.
-getHomolog: aligns sequences based on a HMM profile.
Therefore it is normal that the number of hits provided by the different functions may differ for very specific details.

# Good practices
Although the following lines are not required to run the oligoN-design tool, they will certainly contribute to both help you design good specific oligonucleotides, and take the most of your input files, specially your target file. These recommendations will also avoid falling in the previously mentioned problems and misconceptions.
## Check the literature
Before starting to design specific oligonucleotides to your target group, it is important to do some literature research about your group. Have other studies previously designed specific oligonucleotides to your group of interest? Then you might be able to avoid the lovely (but painful) process of designing specific oligonucleotides. Is your group of interest monophyletic? If it is not, you might fall in the problem 4.2 (too divergent sequences). Is there very little information about your group of interest in the literature? Then it’s your lucky day, because this tool was design for those specific groups we know very little about.
## Understand your target file and target group
It is of paramount importance to understand both your target file AND your target group. Briefly, in the first case, you basically want to avoid the misconception 4.1 and in the second case the misconception 4.2. Therefore it is recommended to curate your target file according to the purpose of the oligonucleotide. This will also help you select optimum thresholds and optimize the chances of finding good candidate oligonucleotides. Check all sequences are of similar(ish) length and that all sequences are relatively similar (or that at least they share common regions). To do so, you can align and build a quick exploratory tree to curate your target group.
## Align your target file
Aligning the target file and visualizing the global multiple sequence alignment will help you confirm that nearly the entirety of the analyzed gene is covered. In addition, if all sequences span from nearly the beginning to nearly the end of the gene, you might want to consider increase the minimum criteria (set as default at 80%). An alignment can be done for example with MAFFT (Katoh and Standley, 2013):
mafft target.fasta > target_align.fasta
Then the aligned target file can be opened with (e.g.,) aliview (Larsson, 2014). However, sometimes it is difficult to tell the diversity of the sequences, and you might need to carry out a slightly more complex check, such building a quick exploratory phylogenetic tree.
## Build a exploratory phylogenetic tree
Building a quick exploratory tree will help you validate that the diversity within your target group is relatively low and that it is indeed potentially possible to design a specific oligonucleotide. Or in other words, that your target file contain sequences relatively similar. A quick phylogenetic tree can be done for example with RaxML-ng (Kozlov et al., 2019):
raxml-ng --msa target_align.fasta --prefix target_raxml-ng --model GTR+G
Or with IQ-Tree (Minh et al., 2020):
iqtree2 -s target_align.fasta -pre target_IQtree
Although if your target group contains way too many sequences or you more or less known the diversity of your group, you can also infer a less computationally demanding tree based on neighbour-joining with rapidnj (Simonsen, Mailund and Pedersen, 2008) is important however, that this tree do not represent phylogenetic relationships, and “simply” creates a similarity-based hierarchical clustering:
rapidnj target_align.fasta > target_nj.tre
If you are deeply interested in exploring phylogenetic patterns of your target group, have a look at this repository to get started: github.com/MiguelMSandin/phylogeniesQuickStart.

# Example workflows
With the following lines we have written some examples in detailed on how to design specific oligonucleotides, from a beginner perspective to an expert use of this tool. Although the possibilities extend far beyond.
Before starting, it is important to properly format the input fasta files, with DNA sequences in one line. This can easily be formatted with the functions ‘fastaChangeBases’ (page 15; to replace Us with Ts) and ‘multi2linefasta’ (page 28; to convert sequences in multiple lines to one line), please see “Input and output formats” (page 7) for further details.

## Unsupervised run
The simplest option if you are either new to designing oligonucleotides or to the command line is to run the wrapper script ‘oligoNdesign’ (specific function information in page 29). By default, this script will select the 4 best oligonucleotides of 18 and/or 20 base pairs long, from a target fasta file containing your sequences of interest (parsed with the argument ’-t target.fasta’) and a excluding fasta file containing the sequences to be excluded (with the argument ‘-e excluding.fasta’) (Fig. 1), as follows:
oligoNdesign -t target.fasta -e excluding.fasta -o oligos
(!) Please note that by default this script will test the accessibility of the oligonucleotides against the 18S rDNA template of the Saccharomyces cerevisae. Use the option ‘-g 16S’ for testing against the 16S rDNA template of Escherichia coli (see page 31 for providing a custom accessibility table of other genes), or the option ‘-a’ to deactivate the accessibility testing.
This command will output three files with the ‘oligos’ prefix (which can be modified with the argument ‘-o oligos’):
- ‘oligos_log.tsv': A tab delimited table containing details for each candidate oligonucleotide."
- 'oligos_candidates.fasta': A fasta file containing all candidate oligonucleotides."
- 'oligos_best.tsv': A filtered table containing only the details of the 4 best oligonucleotides ranked."
Figure 1. Schematic representation of the unsupervised workflow suggested herein.
If you want to select different lengths you can do so with the argument ‘-l’. For example, let’s supposed we want 15, 16, 17, 18, 19, 20, 21, 22 and 25. The we can run:
oligoNdesign -t target.fasta -e excluding.fasta -o oligos -l 15-22 25
It may happen that the default specificity criteria may be too stringent (or too relaxed). By default this pipeline searches for oligonucleotides that are present in at least 80% of the sequences in the target file, and at most in 1% of the sequences of the excluding file. These criteria are called minimum and specificity, respectively, and we can also modify them. For example imagine you are happy with oligonucleotides of length 18 and/or 20, but you want a much stringent minimum (e.g., 95%) and specificity (e.g., 0.1%) criteria:
oligoNdesign -t target.fasta -e excluding.fasta -o oligos -m 0.95 -s 0.001
Additionally you can also set a minimum (and maximum) GC content (argument ‘-c’), select more than the best 4 oligonucleotides (‘-n’), test the oligonucleotides for their accessibility against the 16S rDNA template from E. coli (‘-g 16S’), keep intermediate files (‘-k’), and tune other parameters further. However, you might then be ready to jump to the “Basic pipeline” and have more control over intermediate files and parameters.

## Basic pipeline
The basic pipeline is the supervised version of the ‘oligoNdesign’ function. Briefly, you deal with all intermediate files, arguments and options, which allows you to tune and optimize parameters and user-defined thresholds according to your data and needs (Fig. 2).
Figure 2. Schematic representation of the so-called basic workflow suggested herein.
Assuming you are already comfortable with the command line. Let’s begin by defining our variables, so you don’t have to call each file every time we run a function:
TARGET=’target.fasta’
EXCLUDING=’excluding.fasta’
PREFIX=’oligos’
Ideally, you already have your own target and excluding fasta files, which you have explored and understand their weaknesses, strengths and diversity (see ‘4. Common problems or misinterpretations’, page 46). Although, if you have no knowledge other than the group you are interested in, you can create those preliminary files from reference databases. For example, reference databases such as PR2 (Guillou et al., 2013) or SILVA (Quast et al., 2013) are curated (phylogenetically or based on quantitative quality, respectively) and could be a good starting point. Other options could be your own metabarcoding dataset, or even a custom local dataset of your study system. Anyways, you create your target and excluding files, as follows (where you’ll replace PATTERN for your favorite group):
sequenceSelect -f reference.fasta -o ${TARGET} -p PATTERN
sequenceSelect -f reference.fasta -o ${EXCLUDING} -p PATTERN -r
Once you have your target and excluding files, you can begin with the pipeline. First you will look for all potential oligonucleotides that meet your search criteria with the findOligo function (page 18). As a reminder, the search criteria are oligonucleotides of 18 and 20 bases (‘-l 18 20’), that are present in at least 80% of your target file (‘-m 0.80’) and at most in 1% of the excluding file (‘-s 0.01’).
findOligo -t ${TARGET} -e ${EXCLUDING} -l 18 20 -m 0.80 -s 0.01 -n 0 -o ${PREFIX}_find.tsv -f ${PREFIX}_find.fasta
Note that default parameters are explicitly specified to ease parameters optimization. In addition, we have set mismatches search to 0 (‘-n 0’), because later on we will test for mismatches including insertions and deletions.
The findOligo function will output a tab delimited table with the oligonucleotides and all the search values to ‘oligos_find.tsv’ and a fasta file containing the oligonucleotides to ‘oligos_find.fasta’.
The next step would be to check for (1 and 2) mismatches allowing insertions and deletions with the function testOligo (page 38), as follows:
testOligo -p ${PREFIX}_find.fasta -e ${EXCLUDING} -o ${PREFIX}_test.tsv -m “1 2”
Then, rate the accessibility of the selected oligonucleotides in the SSU with the ‘rateAccess’ function (page 31). To do so, we have first to prepare the input file with the function ‘alignOligo’ (page 11). Briefly, the input file consist of the template SSU gene which accessibility is known (i.e., E. coli 18S rDNA as default), a consensus sequence of the target file, and the oligonucleotides to be rated. Note that the function ‘rateAccess’ needs the identifiers ‘template’, ‘consensus’ and ‘oligoN’ (or ‘region’) in the sequence names to find the template the consensus and oligonucleotides respectively.
alignOligo -t ${TARGET} -p ${PREFIX}_find.fasta -o ${PREFIX}_align.fasta
rateAccess -f ${PREFIX}_align.fasta
The rateAccess function will output a tab delimited table with the oligonucleotide identifier, the sequence, the starting position in the consensus sequence, the approximate region, the starting position in the template sequence, the average maximum brightness, the average minimum brightness, the average brightness and the accessibility class.
Note that these steps are not required to be run in the order of this example. For example if you are working with a different gene, you might not know the accessibility of every region, so you might want to skip this step. Although, if you have the accessibility of your preferred gene, or you want to update the provided template, you can do so with the ‘-a/--acessMap’ argument.
Now it’s time to merge all different tables with all the different search results into a single table. This can be done with the function ‘bindLogs’ (page 12), which will merge all tables into ‘oligos_log.tsv’. To keep the directory clean, it is possible to remove the input tables with the ‘-r/--remove’ option.
bindLogs -f ${PREFIX}_find.tsv ${PREFIX}_test.tsv ${PREFIX}_align_access.tsv -o ${PREFIX}_log.tsv -r
Lastly, it is only needed to select the best overall oligonucleotides based on the search just performed with the function ‘selectLog’ (page 33). If this example was followed, it is possible to apply the following example selection:
selectLog -t ${PREFIX}_log.tsv -c hitsT hitsE mismatch1_indel mismatch2_indel average_brightness -n 4
This will print to the console the 4 best oligonucleotides based on the maximum number of hits to the target file, on the minimum number of hits against the excluding file (allowing 1 and 2 mismatch with and without indels) and with the best accessibility score.

## Thorough design
In a further level of complexity, here the position of the mismatches and other three-dimensional structures (such as hairpins of self-dimerizations) are considered. However, this option is computationally expensive, so we will begin by selecting a reasonable set of all potential best oligonucleotides and then apply a thorough test on them (Fig. 3).
Figure 3. Schematic representation of the so-called thorough workflow suggested herein.
We can profit from the previously created log file (resulting from the function ‘bindLogs’ from the ‘basic pipeline’). So let’s explore it with the function ‘logStats’ (page 27):
logStats -f ${PREFIX}_log.tsv
This will print to the console some summary statistics of all columns in the table. Based on these statistics we can already apply a more stringent selection of the oligonucleotides and exclude those that resulted in a poor search. For example, we will select oligonucleotides with a GC content in between 40 and 60%, that hits at least 95% of the sequences in the target file, at most 0.1% in the excluding file, at most 0.1% of hits allowing 1 mismatch to the excluding file, at most 0.01% of hits allowing 2 mismatches, and with maximum accessibility class of ‘IV’. We can do that with the function ‘filterLog’ (page 17) as follows:
filterLog -l ${PREFIX}_log.tsv -s 0.4 0.6 -t 0.95 -R 0.001 -m 0.001 -M 0.0001 -k IV
Note that such selection can also be done with the function ‘selectLog’, and restrict the thorough search considerably. However, the function ‘selectLog’ most of the times selects different oligonucleotides within the same region, and now we are interested in exploring further tests (i.e., hairpins or position of the mismatches). This is why a slightly broader selection will allow selecting different regions of the gene, apply additional tests, and probably resulting in a different final selection of the best oligonucleotides.
Let’s export a fasta file from the selected table with the selected oligonucleotides with the function ‘’ (page 37):
table2fasta -l ${PREFIX}_log_filtered.tsv
Once we have a reasonably small selection of oligonucleotides in fasta format, we can start the through search with the function ‘testThorough’ (page 40). This is probably the slowest function of the whole tool set, so unless you are running the pipeline in a cluster and you don’t want to spend several hours running it, it is better to select a reasonably small number of oligonucleotides. For example, testing around 20 oligonucleotides (of lengths ~15 to ~25 bases) against the PR2 reference database may take from ~1 to 7 hours. In addition, this function will export a detailed log file, with all possible hairpins, self-dimers, and the identity of the hits allowing mismatches, among others. Continuing with the example of PR2, most of the reference databases contain a given structure to simplify extracting information. In this example, PR2 uses the pipe symbol (‘|’) to delineate different hierarchical taxonomic categories (i.e., class, order, family). Let’s suppose we are interested only on the broad identity of the hits and we don’t really care about the specific sequences at this point. Then we can summarize the identity of the hits by extracting specific taxonomic levels (e.g., 7, 8 and 9). Lastly, let’s also suppose we are designing probes for in situ hybridization, so we are interested that the given oligonucleotide contains mismatches in the center. Then such a test would look like:
testThorough -f ${PREFIX}_log_filtered.fasta -e ${EXCLUDING} -c 0.6 -u 7-9 -d '|'
With the ‘${PREFIX}_log_filtered_testThorough.tsv’ output you can now visually inspect your selection of oligonucleotides and select that one that best fit your requirements.
Although, despite the output of ‘testThorough’ is meant for a detailed check and quantitative assessment, it is possible to also export a summary table with the argument ‘-t’, or even to transform the long detailed output into the same table (so there is no need to run the long test again) with the function ‘detailed2table’ (page 15). This will allow an automatic selection of the oligonucleotides and include the ‘testThorough’ function in your custom high-through put pipeline. So just to complete the example, we can do this as we have already seen:
detailed2table -f ${PREFIX}_log_filtered_testThorough.tsv
bindLogs -f ${PREFIX}_log_filtered.tsv ${PREFIX}_log_filtered_testThorough_table.tsv -o ${PREFIX}_log_filtered_tested.tsv -r
selectLog -t ${PREFIX}_log_filtered_tested.tsv -c hitsT hitsE average_brightness self-dimer_count hairpin_count mismatch1_thorough mismatch1_central0.6 mismatch2_thorough mismatch2_central0.6
This will result in the ranking of all filtered oligonucleotides from the file ‘oligos_log_filtered_tested.tsv’.

## Expert design
For the last example it is required some theoretical and empirical experience designing specific oligonucleotides, and such experience should be preferably manual. Rather than designing final specific oligonucleotides, here we will identify specific regions of interest and compare them with the excluding file, for a visual (or manual) identification of oligonucleotides (Fig. 4). Basically, in this example we will stream-line the “looking at the alignment” approach by taking profit of HMM profiles.
Figure 4. Schematic representation of the so-called expert workflow suggested herein.
To do so, we will begin by identifying regions of interest with the already known ‘findOligo’ function, but instead we will select length of 30, 25, 20 and 15. Such an inverse order will avoid redundancy of smaller oligonucleotides nested within larger oligonucleotides:
TARGET=’target.fasta’
EXCLUDING=’excluding.fasta’
PREFIX=’expert’
findOligo -t ${TARGET} -e ${EXCLUDING} -l 30 25 20 15 -o ${PREFIX}_find.tsv -f ${PREFIX}_find.fasta
Now we will merge the found oligonucleotides into regions with the function ‘identifyRegions’ (page 26), since most of the found oligonucleotides are sliding windows of length k within a given region of length >k.
identifyRegions -f ${PREFIX}_find.fasta -o ${PREFIX}_regions.tsv -e ${PREFIX}_regions.fasta
This will export a tab delimited table with the regions, the region length, the number of oligonucleotides within each region (or size) and the identifiers of the oligonucleotides. It will also export a fasta file with the regions and their size. It is already possible to explore the regions further by aligning the target file, and then the so-called regions to it with mafft as follow:
mafft ${TARGET} > ${TARGET/.fasta/_align.fasta}
mafft --addfragment ${PREFIX}_regions.fasta ${TARGET/.fasta/_align.fasta} > ${TARGET/.fasta/_align_regions.fasta}
These regions will now be extract from the aligned target file (‘target_align.fasta’) with the function ‘trimRegion’ (page 43). Although to keep the directory somehow organized, we will export all extracted regions to a directory called ‘regions’ (with the argument ‘-d’), and named these files after the region name (with the argument ‘-n’), as in ‘oligos_regions.fasta’. We can do all of this as follows:
trimRegion -f ${TARGET/.fasta/_align.fasta} -s ${PREFIX}_regions.fasta -d regions -n
We can now compare these regions to the excluding file with HMM profiles using the function ‘getHomolog’ (page 22). And to run efficiently this function in all different extracted regions, we can do so in a for loop as follows:
for FILE in $(ls regions/*); do
getHomolog -f ${FILE} -e ${EXCLUDING}
done
This will export different files containing the region from the target file, the HMM profile from the target file, and all aligned regions from the excluding file that shared at least 90% of the aligned positions. While for some experts these files might already be enough to start designing oligonucleotides, it is possible to still go further and explore the outcome with the function ‘getHomologStats’ (page 23).
getHomologStats -f regions/*complementRegion* -t -p
And now it’s really up to your imagination. For example, you could chose the most appropriate region and start a thorough design on it (as seen in page 52), or even create a new target and excluding file from one of the files generated by the function ‘getHomolog’.
Just to finish setting the basics of the oligoN-design tool, let’s imagine we are interested in the second region with 20 oligonucleotides and we want to create a new target and excluding file from it. If you followed this example, it should be called ‘region2_size20_complementRegion.fasta’. Then we could do the following (replacing ‘PATTERN’ by the pattern you used at the beginning in the Basic pipeline, page 50):
FILE='regions/region2_size20_complementRegion.fasta'
TARGET='region2_target.fasta'
EXCLUDING='region2_excluding.fasta'
sequenceSelect -f ${FILE} -o ${TARGET2} -p PATTERN
sequenceSelect -f ${FILE} -o ${EXCLUDING2} -p PATTERN HMM_profile -r
We can explore the new target file with the function ‘breakFasta’ (page 13), as follows:
breakFasta -f ${TARGET} -p
And finally proceed with your favorite pipeline.

# Concluding remarks
The oligoN-design tool was designed to help the design of specific oligonucleotides accommodating the large environmental datasets and with a simple and versatile approach. Here we have suggested several workflows to integrate the OligoN-design tools and ease the design of specific oligonucleotides.
However, oligonucleotide design is a tedious work and any in silico result should be interpreted as a starting point that needs to be empirically optimized and tested. Therefore, bioinformatic workflows will only provide theoretical candidate regions.

# References
Behrens S, Fuchs BM, Mueller F, Amann R (2003) Is the in situ accessibility of the 16S rRNA of Escherichia coli for Cy3-labeled oligonucleotide probes predicted by a three-dimensional structure model of the 30S ribosomal subunit? Appl Environ Microbiol. 69 (8): 4935-41. doi: 10.1128/AEM.69.8.4935-4941.2003
Beliveau BJ, Kishi JY, Nir G, Sasaki HM, Saka SK, Nguyen SC, Wu CT, Yin P (2018) OligoMiner provides a rapid, flexible environment for the design of genome-scale oligonucleotide in situ hybridization probes. Proc Natl Acad Sci U S A, 115(10). doi: 10.1073/pnas.1714530115.
Edgar RC (2022) Muscle5: High-accuracy alignment ensembles enable unbiased assessments of sequence homology and phylogeny. Nat Commun, 13(1), p. 6968. doi: 10.1038/s41467-022-34630-w.
Gouy M, Guindon S, Gascuel O (2010) SeaView Version 4: A Multiplatform Graphical User Interface for Sequence Alignment and Phylogenetic Tree Building. Mol Biol Evol, 27(2), pp. 221–224. doi: 10.1093/molbev/msp259.
Guillou L, Bachar D, Audic S, Bass D, Berney C, Bittner L, Boutte C, Burgaud G, de Vargas C, Decelle J, Del Campo J, Dolan JR, Dunthorn M, Edvardsen B, Holzmann M, Kooistra WH, Lara E, Le Bescot N, Logares R, Mahé F, Massana R, Montresor M, Morard R, Not F, Pawlowski J, Probert I, Sauvadet AL, Siano R, Stoeck T, Vaulot D, Zimmermann P, Christen R (2013) The Protist Ribosomal Reference database (PR2): A catalog of unicellular eukaryote Small Sub-Unit rRNA sequences with curated taxonomy. Nucleic Acids Res, 41(D1), pp. 597–604. doi: 10.1093/nar/gks1160.
Hall TA (1999) BioEdit: A User-Friendly Biological Sequence Alignment Editor and Analysis Program for Windows. 41(41), pp. 95–98.
Hendling M, Pabinger S, Peters K, Wolff N, Conzemius R, Barišic I (2018) Oli2go: an automated multiplex oligonucleotide design tool. Nucleic Acids Res, 46(W1), pp. W252–W256. doi: 10.1093/nar/gky319.
Hendling M, Barišić I (2019) In-silico Design of DNA Oligonucleotides: Challenges and Approaches. Comput Struct Biotechnol J, 17, pp. 1056–1065. doi: 10.1016/j.csbj.2019.07.008.
Katoh K, Standley DM (2013) MAFFT multiple sequence alignment software version 7: Improvements in performance and usability. Mol Biol Evol, 30(4), pp. 772–780. doi: 10.1093/molbev/mst010.
Kozlov AM, Darriba D, Flouri T, Morel B, Stamatakis A (2019) RAxML-NG: a fast, scalable and user-friendly tool for maximum likelihood phylogenetic inference. Bioinformatics. Edited by J. Wren, 35(21), pp. 4453–4455. doi: 10.1093/bioinformatics/btz305.
Larsson A (2014) AliView: a fast and lightweight alignment viewer and editor for large datasets. Bioinformatics, 30(22), pp. 3276–3278. doi: 10.1093/bioinformatics/btu531.
Ludwig W, Strunk O, Westram R, Richter L, Meier H, Yadhukumar, Buchner A, Lai T, Steppi S, Jobb G, Förster W, Brettske I, Gerber S, Ginhart AW, Gross O, Grumann S, Hermann S, Jost R, König A, Liss T, Lüssmann R, May M, Nonhoff B, Reichel B, Strehlow R, Stamatakis A, Stuckmann N, Vilbig A, Lenke M, Ludwig T, Bode A, Schleifer KH (2004) ARB: a software environment for sequence data. Nucleic Acids Res, 32(4), pp. 1363–1371. doi: 10.1093/nar/gkh293.
Minh BQ, Schmidt HA, Chernomor O, Schrempf D, Woodhams MD, von Haeseler A, Lanfear R (2020) IQ-TREE 2: New Models and Efficient Methods for Phylogenetic Inference in the Genomic Era. Mol Biol Evol. Edited by E. Teeling, 37(5), pp. 1530–1534. doi: 10.1093/molbev/msaa015.
Quast C, Pruesse E, Yilmaz P, Gerken J, Schweer T, Yarza P, Peplies J, Glöckner FO (2013) The SILVA ribosomal RNA gene database project: improved data processing and web-based tools. Nucleic Acids Res, 41(D1), pp. D590–D596. doi: 10.1093/nar/gks1219.
Sievers F, Wilm A, Dineen D, Gibson TJ, Karplus K, Li W, Lopez R, McWilliam H, Remmert M, Söding J, Thompson JD, Higgins DG (2011) Fast, scalable generation of high‐quality protein multiple sequence alignments using Clustal Omega. Mol Syst Biol, 7(1), p. 539. doi: 10.1038/msb.2011.75.
Simonsen M, Mailund T, Pedersen CNS (2008) Rapid Neighbour-Joining. in K.A. Crandall and J. Lagergren (eds) Algorithms in Bioinformatics. Berlin, Heidelberg: Springer Berlin Heidelberg (Lecture Notes in Computer Science), pp. 113–122. doi: 10.1007/978-3-540-87361-7_10.
Untergasser A, Cutcutache I, Koressaar T, Ye J, Faircloth BC, Remm M, Rozen SG (2012) Primer3—new capabilities and interfaces. Nucleic Acids Res, 40(15), pp. e115–e115. doi: 10.1093/nar/gks596.
Vaulot D, Geisen S, Mahé F, Bass D (2022) pr2-primers: An 18S rRNA primer database for protists. Mol Ecol Resour, 22(1), pp. 168–179. doi: 10.1111/1755-0998.13465.
Wright ES (2016) Using DECIPHER v2.0 to Analyze Big Biological Sequence Data in R. The R Journal, 8(1), p. 352. doi: 10.32614/RJ-2016-025.